## LIVD Publication
Publisher | Centers for Disease Control and Prevention (CDC)
LOINC Copyright | This material contains content from LOINC® (http://loinc.org). The LOINC table, LOINC codes, LOINC panels and form file, LOINC linguistic variants file, LOINC/RSNA Radiology Playbook, and LOINC/IEEE Medical Device Code Mapping Table are copyright © 1995-2024, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/terms-of-use.
LOCALIZATION | en-US
Document Identifier | LIVD Monkeypox
Publication Date | 2024-05-20
Publisher URL | https://www.cdc.gov/csels/dls/livd-codes.html
Publisher Statement | Partners and users should know that publication on this website does not infer an endorsement by CDC of any of the instruments or companies listed in this document. The use of an asterisk (*) next to a value for the Model in the LOINC Mapping tab means that the code has not been verified by the manufacturer, therefore CDC cannot attest to the accuracy of the code. If you are the test developer or manufacturer of one of these tests, please contact FDA at DLSInquiries@cdc.gov for information about verifying codes with CDC and its partners in this project; you can also use this email address to provide feedback to FDA about the form. The use of an at sign (@) next to a value for the Model in the LOINC Mapping tab indicates a test where the EUA has been revoked because the test has been granted the De Novo. For more information see: https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfPMN/denovo.cfm
SNOMED CT Copyright | This material includes SNOMED Clinical Terms® (SNOMED CT®) which is used by permission of the International Health Terminology Standards Development Organisation (IHTSDO). All rights reserved. SNOMED CT®, was originally created by The College of American Pathologists. “SNOMED” and “SNOMED CT” are registered trademarks of the IHTSDO.
Accessibility | If you need assistance to read the Excel spreadsheet presented here, please email DLSInquiries@cdc.gov and use “LIVD Test Code Mapping Tool” in the subject line.

## HHS Mapping to LIVD
HHS Data element | LOINC Mapping locations | LIVD element | LIVD Column # | Description | Notes | HL7 field | Reference
Test Ordered - LOINC code information for OBR-4.1 located in column H and LOINC Order Code Long Name for OBR 4.2 located in column I |  | Test Ordered LOINC Code | H | LOINC code that identifies the Test Ordered by provider | The Test Ordered LOINC Order should identify the test that is being requested, not the in-vitro diagnostic (IVD) device used to process the test. LOINC panel codes are used when there are multiple targets and the results for each target could potentially be reported indivdually For tests with a single target (analyte) the Test Order code is most likely the same as the Test Performed code | OBR-4.1 | Regenstrief/LOINC provides information to help select LOINC codes: List of Monkeypox LOINC Codes - •https://loinc.org/search/?t=1&s=monkeypox •https://loinc.org/search/?t=1&s=orthopox Search function - https://search.loinc.org/searchLOINC/
|  | Test Ordered LOINC Long Name | I | LOINC name corresponding to code in column H |  | OBR-4.2
Test Result - LOINC code information for OBX-3.1 located in column F and LOINC Long Name for OBR-3.2 located in column G |  | Test Performed LOINC Code | F | LOINC code that identifies the Test Performed by the laboratory | The Test Performed LOINC Code should identify the test that is being performed, not the in-vitro diagnostic (IVD) device used to process the test. | OBX-3.1
|  | Test Performed LOINC Long Name | G | LOINC name corresponding to code in column F |  | OBX-3.2
Test Value - Result term information for OBX-5 is located in Column E |  | Vendor result description | E | Result value reported for the test by the laboratory. The CDC LIVD file provides information on how to map the results in the "Vendor Result Description" column of the "LOINC Mapping" tab (https://www.cdc.gov/poxvirus/monkeypox/lab-personnel/report-results.html). Must have either this or Test_result_description or Test_result_free_text (can have all three) or Test_result_number valued HHS Element: Test result | Qualitative tests: Must use harmonized SNOMED-CT value set codes - they are represented in the LIVD field in parenthesis mapped to the verbiage used in the package insert. OBX-5 datatype will be CWE. Quantitative tests: Must be reported in UCUM units (NOT included in this LIVD file), when available. OBX-5 datatype will be NM or SN. | OBX-5 | https://confluence.ihtsdotools.org/display/DOCCV19/2.4+Tests+and+Investigations#id-2.4TestsandInvestigations-Results
Specimen source - Specimen type for SPM-4 (HHS calls source) is located in Column D |  | Vendor specimen description | D | Specimen this test was performed on, usually identified by the provider | Many test may be performed on multiple specimen types. Report only the specimen type that was actually tested, not all possible specimen types for the test performed. Use harmonized SNOMED-CT value set codes - they are represented in the LIVD field in parenthesis mapped to the verbiage used in the package insert. | SPM-4 | https://www.cdc.gov/poxvirus/monkeypox/lab-personnel/report-results.html
Device Identifier - Device Identifier for the test kit for OBX-17.1 this will be based on the EUA letter from the FDA webpage or a device ID provided by the manufacturer in columns M and N. Device Identifier for the testing platform for OBX-17 this will be based on the model name and manufacturer or a device ID provided by the manufacturer in columns O and P. |  |  | M-P | Per HHS guidance it is needed to understand what testing is being performed: A unique alphanumeric string identifying the test kit used to perform the test, which can be accomplished by concatenating the model name with the manufacturer name. This should be used when no EUA identifier is available, or when there is a desire to explicitly list the test kit (maybe because it was used with a different instrument than described in the EUA, or when no EUA exists, because it is not related to an emergency situation). Create this identifier by concatenating using '_' as follows: <test kit name used in package insert (or "Model" in LIVD file)>_<"Manufacturer" in LIVD file>_MNT Unless this is for a manual kit, there is an expectation, that the instrument used wll also be identified, either by model name, device identifier or UDI. The Device Identifier (DI) may be a Test Kit Name Identifier or the Equipment (IVD) Identifier or a combination of the two. |  |  | Basic guidance around how to create a device identifier, when none is provided in the LIVD file can be found here: https://confluence.hl7.org/display/OO/Proposed+HHS+ELR+Submission+Guidance+using+HL7+v2+Messages#ProposedHHSELRSubmissionGuidanceusingHL7v2Messages-DeviceIdentification
Device Identifier location is in Column M |  | Testkit Name ID | M | Test performed for Monkeypox testing, including laboratory developed test will be identified by the Test Kit Name Identifier, which is a combination of the <test kit name>_<manufacturer>. | For consistency in reporting, use the test kit name and manufacturer as it is listed on the FDA EUA Website or the Instructions For Use (IFU) and include all spaces and special characters (except (TM) or (R)), when reporting the EUA identifier type, which is what this LIVD file will strive to provide. To accommodate systems' limitation with the length of OBX-17.1 follow the general HL7 truncation behavior (use of max characters and replace the last allowed character with '#' to indicate truncation. The full device ID can be sent in an NTE segment. | OBX-17
Device Identifier (type) location is in Column N |  | Testkit Name ID Type | N | Emergency Use Authorization (EUA) Manufacturer Name (MNT) Device Identifier (DIT) Manual Test Kit (MNM) | This field will indicate which type of identifier is in column N - it can be one of the four listed | OBX-17
Device Identifier is located in Column O |  | Equipment UID | O | If the test may be performed on more than one testing platform or if your laboratory has validated the test on a different platform than the one(s) listed in the IFU, you would additionally need to send the equipment/device identification. | Look-up in Access GUDID (https://accessgudid.nlm.nih.gov/help/search/basic-search ) If the DI is not listed in GUDID, the Equipment DI may be populated with the MNI. | OBX-17
Device Identifier (type) is located in Column P |  | Equipment UID Type | P | Manufacturer Name (MNI) Device Identifier (DII) | This field will indicate which type of identifier is in column P - it can be one of the two listed | OBX-17
Manufacturer is located in Column A |  | Manufacturer | A | The name of the Instrument manufacturer or Testkit manufacturer | If Testkit Name ID (column M) and Testkit ID Type (Column N) are NOT populated for the test in question, use the information in this column to populate the second part of the device Identifier code: <Model>_<Manufacturer>_MNT | OBX-17
Test Kit - is in located in Column B |  | Model | B | The name of the Testkit | If Testkit Name ID (column M) and Testkit ID Type (Column N) are NOT populated for the test in question, use the information in this column to populate the second part of the device Identifier code: <Model>_<Manufacturer>_MNT | OBX-17

## Acronyms
Acronym | Description
Ab | Antibody
ACnc | Arbitrary concentration
Ag | Antigen
APHL | Association of Public Health Laboratories
ART | Antiretroviral therapy
ARUP | ARUP Laboratories (name of a compnay)
Bld | Blood
CDC | US Centers for Disease Control and Prevention
ChLIA | Chemiluminescent immunoassay
CIA | Chemiluminescent immunoassay
CLIA | Clinical Laboratory Improvement Amendments
CMIA | Chemi-luminometric immunoassay
dB | Database
EIA | Enzyme immunoassay
Env | Envelope
FDA | Food and Drug Administration
gp | Glycoprotein
IA | Immunoassay
IA.rapid | Rapid immunoassay
IB | Immunoblot
ID | Identifier
IF | Immunofluorescence
IFA | Immunofluorescence assay
IgG | Immunoglobulin G
IgM | Immunoglobulin M
IICC | IVD Industry Connectivity Consortium
IU | International units
IVD | In vitro diagnostic
LnCnc | Log number concentration
log# | Log number
LOINC | Logical observation identifiers Names and Codes
mL | Milliliter
MPXV | Monkeypox virus
NAA | Nucleic acid amplification
NCnc | Number concentration (count/vol)
NFr | Number fraction
Nom | Nominal
Non-probe.amp.tar | Target amplification followed by non-probe based detection
NYS | New York state
OPXV | Orthopoxvirus
Ord | Ordinal
PAML | Pathology Associates Medical Laboratories
PCR | Polymerase chain reaction
PHA | Public health agency
Plas | Plasma
Prid | Presence or identity
Probe.amp.tar | Target amplified probe
PrThr | Presence / threshold
Pt | Point in time
Qn | Quantitative
qual | Qualitative
RNA | Ribonucleic acid
Seq | Nucleotide sequence
Ser | Serum
SerPl | Serum plasma
Susc | Susceptibility
TMA | Transcription-mediated amplification of nucleic acid
ug | Microgram
UID | Universal identifier
uL | Microliter
Vol | Volume
WB | Westernblot
XXX | Not specified

## LOINC Mapping
Manufacturer | Model | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Test Performed LOINC Code | Test Performed LOINC Long Name | Test Ordered LOINC Code | Test Ordered LOINC Long Name | Vendor Comment | Vendor Analyte Code | Vendor Reference ID | Testkit Name ID | Testkit Name ID Type | Equipment UID | Equipment UID Type | Component | Property | Time | System | Scale | Method | Publication Version ID | LOINC Version ID
Abbott Molecular, Inc. | Alinity m | MPXV | Human lesion swab collected in VTM (16210971000119108^Swab from lesion^SCT) | MPXV Negative (260415000^Not Detected^SCT) MPXV Positive (260373001^Detected^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test does not differentiate between the two clades. A positive result will most likely mean that it is monkeypox virus clade II since it is the only member of the Orthopoxvirus genus circulating in the US at this time, but it could also indicate the presence of monkeypox virus clade I. | 7802 | 09R06 | Alinity m MPXV AMP Kit_Abbott Molecular Inc. | EUA | 00884999048034 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221102 | 2.73
Becton, Dickinson & Company (BD) | VIASURE Monkeypox virus Real Time PCR Reagents for BD MAX System | MPXV Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | NEG (260415000^Not Detected^SCT) POS (260373001^Detected^SCT) UNR (unresolved), IND (Indeterminate), INC (incomplete)(455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection |  |  |  | VIASURE Monkeypox virus Real Time PCR Reagents for BD MAX System_Becton, Dickinson & Company (BD) | EUA | 00382904419165 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Cepheid | Xpert Mpox | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola OPXV detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) MPXV Clade II detected (61881000284108^Monkeypox virus clade II^SCT) MPXV Clade II Not Detected, Non-Variola OPXV Not Detected (260415000^Not Detected^SCT) Invalid (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 104610-1 | Monkeypox virus clade II & Orthopoxvirus.non-variola [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen |  |  |  | Xpert Mpox_Cepheid | EUA | GeneXpert Dx System_Cepheid | MNI | Monkeypox virus clade II & Orthopoxvirus.non-variola | Prid | Pt | XXX | Nom | Probe.amp.tar | 20240516 | pre-2.78
Cepheid | Xpert Mpox | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola OPXV detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) MPXV Clade II detected (61881000284108^Monkeypox virus clade II^SCT) MPXV Clade II Not Detected, Non-Variola OPXV Not Detected (260415000^Not Detected^SCT) Invalid (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 104610-1 | Monkeypox virus clade II & Orthopoxvirus.non-variola [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen |  |  |  | Xpert Mpox_Cepheid | EUA | GeneXpert Infinity System_Cepheid | MNI | Monkeypox virus clade II & Orthopoxvirus.non-variola | Prid | Pt | XXX | Nom | Probe.amp.tar | 20240516 | pre-2.78
Cepheid | Xpert Mpox | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola OPXV detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) MPXV Clade II detected (61881000284108^Monkeypox virus clade II^SCT) MPXV Clade II Not Detected, Non-Variola OPXV Not Detected (260415000^Not Detected^SCT) Instrument Error/No Result-Repeat Test (455371000124106^Invalid result^SCT) | 104610-1 | Monkeypox virus clade II & Orthopoxvirus.non-variola [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen |  |  |  | Xpert Mpox_Cepheid | EUA | GeneXpert Xpress System_Cepheid | MNI | Monkeypox virus clade II & Orthopoxvirus.non-variola | Prid | Pt | XXX | Nom | Probe.amp.tar | 20240516 | pre-2.78
Cue Health, Inc. | Cue Mpox (Monkeypox) Molecular Test | Mpox result | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Mpox Negative (260415000^Not Detected^SCT) Mpox Positive (260373001^Detected^SCT) Invalid (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection |  |  |  | Cue Mpox (Monkeypox) Molecular Test_Cue Health, Inc. | EUA | Cue Health Monitoring System_Cue Health | MNI | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230329 | 2.73
DiaCarta, Inc. | QuantiVirus MPXV Test Kit | MPXV Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | MPXV-Negative (260415000^Not Detected^SCT) MPXV-Positive (260373001^Detected^SCT) Inconclusive (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test detects DNA from both clade I and clade II of MPXV. |  |  | QuantiVirus MPXV Test Kit_DiaCarta, Inc. | EUA | CFX384 Real-Time PCR_BioRad | MNI | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230125 | 2.73
DiaCarta, Inc. | QuantiVirus MPXV Test Kit | MPXV Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | MPXV-Negative (260415000^Not Detected^SCT) MPXV-Positive (260373001^Detected^SCT) Inconclusive (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test detects DNA from both clade I and clade II of MPXV. |  |  | QuantiVirus MPXV Test Kit_DiaCarta, Inc. | EUA | 10190302015592 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230125 | 2.73
DiaCarta, Inc. | QuantiVirus MPXV Test Kit | MPXV Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | MPXV-Negative (260415000^Not Detected^SCT) MPXV-Positive (260373001^Detected^SCT) Inconclusive (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test detects DNA from both clade I and clade II of MPXV. |  |  | QuantiVirus MPXV Test Kit_DiaCarta, Inc. | EUA | 10190302000222 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230125 | 2.73
DiaCarta, Inc. | QuantiVirus MPXV Test Kit | MPXV Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | MPXV-Negative (260415000^Not Detected^SCT) MPXV-Positive (260373001^Detected^SCT) Inconclusive (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test detects DNA from both clade I and clade II of MPXV. |  |  | QuantiVirus MPXV Test Kit_DiaCarta, Inc. | EUA | LightCycler 480 Instrument II_Roche | MNI | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230125 | 2.73
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola orthopoxvirus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) Non-variola orthopoxvirus and Monkeypox virus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT and 59774002^Monkeypox virus^SCT) Monkeypox virus detected (59774002^Monkeypox virus^SCT) Not Detected (260415000^Not Detected^SCT) Invalid result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 101399-4 | Monkeypox virus and Orthopoxvirus.non-variola DNA [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | 10190302015592 | DII | Monkeypox virus & Orthopoxvirus.non-variola DNA | Prid | Pt | XXX | Nom | Probe.amp.tar | 20230308 | 2.74
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Monkeypox virus | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | 10190302015592 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Non-variola Orthopoxvirus | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) | 100434-0 | Orthopoxvirus.non-variola DNA [Presence] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | 10190302015592 | DII | Orthopoxvirus.non-variola DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | RNase P | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) | 68993-5 | Human RNase P RNA [Presence] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | 10190302015592 | DII | Human RNase P RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola orthopoxvirus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) Non-variola orthopoxvirus and Monkeypox virus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT and 59774002^Monkeypox virus^SCT) Monkeypox virus detected (59774002^Monkeypox virus^SCT) Not Detected (260415000^Not Detected^SCT) Invalid result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 101399-4 | Monkeypox virus and Orthopoxvirus.non-variola DNA [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 5 Dx_Thermo Fisher | MNI | Monkeypox virus & Orthopoxvirus.non-variola DNA | Prid | Pt | XXX | Nom | Probe.amp.tar | 20230308 | 2.74
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Monkeypox virus | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 5 Dx_Thermo Fisher | MNI | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Non-variola Orthopoxvirus | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) | 100434-0 | Orthopoxvirus.non-variola DNA [Presence] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 5 Dx_Thermo Fisher | MNI | Orthopoxvirus.non-variola DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | RNase P | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) | 68993-5 | Human RNase P RNA [Presence] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 5 Dx_Thermo Fisher | MNI | Human RNase P RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola orthopoxvirus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) Non-variola orthopoxvirus and Monkeypox virus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT and 59774002^Monkeypox virus^SCT) Monkeypox virus detected (59774002^Monkeypox virus^SCT) Not Detected (260415000^Not Detected^SCT) Invalid result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 101399-4 | Monkeypox virus and Orthopoxvirus.non-variola DNA [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 7 Flex_Thermo Fisher | MNI | Monkeypox virus & Orthopoxvirus.non-variola DNA | Prid | Pt | XXX | Nom | Probe.amp.tar | 20230308 | 2.74
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Monkeypox virus | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 7 Flex_Thermo Fisher | MNI | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Non-variola Orthopoxvirus | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) | 100434-0 | Orthopoxvirus.non-variola DNA [Presence] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 7 Flex_Thermo Fisher | MNI | Orthopoxvirus.non-variola DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | RNase P | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) | 68993-5 | Human RNase P RNA [Presence] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 7 Flex_Thermo Fisher | MNI | Human RNase P RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20230111 | 2.73
Quest Diagnostics Nichols Institute | LDT: Quest Diagnostics Monkeypox Virus Qualitative Real-Time PCR* | Monkeypox virus DNA (West African clade, clade II) | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) Invalid/Unable to report (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100888-7 | West African monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | Source site should be communicated with the order |  |  | Quest Diagnostics Monkeypox Virus Qualitative Real-Time PCR_Quest Diagnostics Nichols Institute | EUA | ABI 7500 Real-Time PCR_Thermo Fisher | MNI | West African monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221012 | 2.73
Quest Diagnostics Nichols Institute | LDT: Quest Diagnostics Monkeypox Virus Qualitative Real-Time PCR* | Non-variola Orthopoxvirus DNA | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) Invalid/Unable to report (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100434-0 | Orthopoxvirus.non-variola DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | Source site should be communicated with the order |  |  | Quest Diagnostics Monkeypox Virus Qualitative Real-Time PCR_Quest Diagnostics Nichols Institute | EUA | ABI 7500 Real-Time PCR_Thermo Fisher | MNI | Orthopoxvirus.non-variola DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221012 | 2.73
Quest Diagnostics Nichols Institute | LDT: Quest Diagnostics Monkeypox Virus Qualitative Real-Time PCR* | Monkeypox virus DNA (West African clade, clade II) | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) Invalid/Unable to report (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100888-7 | West African monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | Source site should be communicated with the order |  |  | Quest Diagnostics Monkeypox Virus Qualitative Real-Time PCR_Quest Diagnostics Nichols Institute | EUA | ABI 7500 FAST Real-Time PCR_Thermo Fisher | MNI | West African monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221012 | 2.73
Quest Diagnostics Nichols Institute | LDT: Quest Diagnostics Monkeypox Virus Qualitative Real-Time PCR* | Non-variola Orthopoxvirus DNA | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Negative (260415000^Not Detected^SCT) Positive (260373001^Detected^SCT) Invalid/Unable to report (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100434-0 | Orthopoxvirus.non-variola DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | Source site should be communicated with the order |  |  | Quest Diagnostics Monkeypox Virus Qualitative Real-Time PCR_Quest Diagnostics Nichols Institute | EUA | ABI 7500 FAST Real-Time PCR_Thermo Fisher | MNI | Orthopoxvirus.non-variola DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221012 | 2.73
Roche Molecular Systems, Inc. | cobas 6800 | MPXV | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | MPXV Negative (260415000^Not Detected^SCT) MPXV Positive (260373001^Detected^SCT) MPXV Invalid (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test does not differentiate between the two clades. | 100383-9^MPXV^LN | 09863338190 | 00875197007176 | DIT | 04015630935406 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221214 | 2.73
Roche Molecular Systems, Inc. | cobas 8800 | MPXV | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | MPXV Negative (260415000^Not Detected^SCT) MPXV Positive (260373001^Detected^SCT) MPXV Invalid (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test does not differentiate between the two clades. | 100383-9^MPXV^LN | 09863338190 | 00875197007176 | DIT | 04015630935390 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221214 | 2.73

## Background Information
Intended Audience
Clinical laboratory personnel, local, state and federal public health agencies; IVD test developers or manufacturers; and Laboratory Information System (LIS) and Electronic Health Records (EHR) vendors.
Summary and Explanation
Public health surveillance for reportable and nationally notifiable diseases and conditions relies on laboratory criteria to support case definitions and classification. The numerous tests and multiplex test platforms adopted by clinical laboratories complicates mapping of test results for electronic laboratory reporting systems. If clinical laboratories adopt new methodologies generating results with different Logical Observation Identifiers Names and Codes (LOINC®) or Systematized Nomenclature of Medicine Clinical Terms (SNOMED CT®), then laboratory information systems need to be configured for such changes, with mapping of results adjusted accordingly. This has significant resource implications for public health surveillance programs. The ability for computer systems to transmit data that is unambiguous and has shared meaning (semantic interoperability) is needed to harmonize the large volume of laboratory test data both within and especially between healthcare systems. A multiagency task force, Systemic Harmonization and Interoperability Enhancement for Laboratory Data (SHIELD) was convened to harmonize laboratory coding by ensuring LOINC, SNOMED CT, Unique Device Identifier, and the use of Unified Code for Units of Measure is consistently applied across the healthcare information exchange continuum. In June 2018, the Food and Drug Administration published guidance titled “Logical Observation Identifiers Names and Codes for In Vitro Diagnostic Tests” to encourage instrument manufacturers to provide LOINC for their tests. Several IVD manufacturers are providing LOINC using the digital format provided by the IVD Industry Connectivity Consortium (IICC). To increase semantic interoperability for laboratory reporting for detection of Monkeypox Virus, the FDA, CDC, IICC, the Regenstrief Institute, and the Association of Public Health Laboratories (APHL) have developed a LOINC map for all Monkeypox Virus diagnostic tests listed on FDA Emergency Use Authorizations. The benefits of the LOINC map are providing a concise document that defines LOINC codes for use with specific tests and providing suggested SNOMED CT mapping for the allowed specimen and for any coded results for reporting to the public health agencies. The use of a standard LOINC map should reduce inaccuracies in and time spent on the import of laboratory test results sent through laboratory information systems. This document conforms to the IICC Digital Format for Publication of LOINC to Vendor IVD Test Results, also known as LIVD.
Mapping Updates New and changed codes may be identified by filtering the “LOINC mapping” column S – Publication Version ID. Codes may require a change when more information becomes available regarding the test. Changes will be described in the “Release Notes” tab.
Important Notes Regardless of the LOINC code you use, we strongly recommend that you report details about the specimen and the test kit along with the primary result. In order to identify Laboratory Developed Tests, the value in the Model column is prepended with "LDT:". Specimen details would ideally be reported using the HL7 SPM segment if using v2.5.1 or higher, OBR-15 if using v2.3.x, or the FHIR Specimen resource. If none of these are supported, specimen details can be sent as a separate observation result using LOINC 66746-9 Specimen type. The test kit name and unique identifier would ideally be reported in OBX-17 and OBX-18, respectively. If this is not an option, test kit details can be sent as separate observation results using LOINC 67099-2 Vendor device name and/or 74711-3 Unique device identifier.
Tabs Available
LIVD Publication: Provides meta data about this publication, including the document version.
HHS Mapping to LIVD: Provides the HHS data elements in Column A. Column B contains a screenshot of the location of each data element in the LOINC Mapping tab and Column C has a link to that column. The other columns contain more information about the HHS data elements and the LIVD table in the LOINC Mapping tab.
LOINC Mapping: Provides the LOINC map for all FDA-approved diagnostic tests to date. The LOINC code is the preferred code for HHS reporting. More specific codes may be available from the manufacturer.
Acronyms: Provides explanations of acronyms used in this document.
Background Information: Provides additional information on the need and means that this document was developed.
LOINC Mapping Columns: A description of each column in the LOINC Mapping tab
Release Notes: Summary of any changes to previously reported mappings.
Filtering on the LOINC mapping tab
A filter has been created for each column. A LOINC mapping can be quickly located by first filtering on Manufacturer and then Model. If necessary, further filtering can then be performed on the Vendor Analyte Name.
Order codes
Order codes are the codes used by a provider to request that a specific test or set of tests be done for a patient. Each laboratory provides a directory of order codes (“test catalog”) that correspond to the tests offered in that lab. If a group of tests is done as a set, such as a complete blood count or a lipid profile, that group is usually ordered together as a panel or battery using a single order code, and individual results are reported using a separate set of result codes that correspond to each test. If only one of the tests in that group is requested, e.g., hemoglobin or total cholesterol, then the code for that test is used for the order and the result. Similarly, for tests that are not performed as part of a panel, the same code is used for the order and the result.
For tests that are done as a set, a panel code is used for the order, and individual results are reported using codes specific for those results. Note that panel codes should NOT be used for result reporting.
LIVD format
The LIVD specification outlines an industry-defined format to facilitate the publication and exchange of LOINC codes for vendor IVD test results, based on either vendor IVD test transmission codes or manual test identification, for use by laboratory personnel or laboratory applications. The format can be used as-is by IVD software systems to automate the mapping between vendor IVD test transmission codes and LOINC codes, significantly reducing the risk of erroneously mapped test results and units of measure (UCUM) (http://ivdconnectivity.org/livd/).
01/06 - JS: Analytes are N2 gene, E gene 1/6/2021-RM: I added the Vendor comment to indicate LDT - ok to publish 1/7/2021-LOINC team- Agree with LOINC codes. 1/22/2021-JS: This is the Lab version of the test, run on the GeneXpert Dx or the GeneXpert Infinity instrument.
01/06 - JS: Analytes are N2 gene, E gene 1/6/2021-RM: I added the Vendor comment to indicate LDT - ok to publish 1/7/2021-LOINC team- Agree with LOINC codes. 1/22/2021-JS: This is the Lab version of the test, run on the GeneXpert Dx or the GeneXpert Infinity instrument.
DB 7/29: Order code ok. Interp is based on distinct N2 and E gene channels. JS 8/3: Specimen type has changed, Results have changed. 8/18-RM: this affects LOINC - what do we want to do about that? why is equipment UID column highlighted? 1/22 - JS: This is the POC version of the test, run on the GeneXpert Express insturment. Removed OP swab and Nasal wash/ aspirate from Specimens. Removed 'Not detected in pooled specimen' from Results. Changed Result Text from 'INVALID' to 'NO RESULT - REPEAT TEST'
1/25/2021-JS: Analytes are ORF1ab, N gene, S gene, IC (MS2). Need LOINC for S gene in Saliva | Ambry Genetics Laboratory | LDT: Ambry COVID-19 RT-PCR Test* | SARS-CoV-2 Result | saliva specimens (119342007^Saliva specimen^SCT) | INVALID (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) SARS-CoV-2 Not Detected (260415000^Not Detected^SCT) Positive SARSCoV-2 (260415000^Not Detected^SCT) | 94845-5 | SARS-CoV-2 (COVID-19) RNA [Presence] in Saliva (oral fluid) by NAA with probe detection | 95826-4 | SARS-CoV-2 (COVID-19) RNA panel - Saliva (oral fluid) by NAA with probe detection | Testing is limited to Ambry Genetics Laboratory located at 7 Argonaut, Aliso Viejo, CA 92656, which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests. | Ambry COVID-19 RT-PCR Test_Ambry Genetics Laboratory | EUA | ABI 7500 FAST Dx Real-Time PCR_Thermo Fisher | MNI | SARS coronavirus 2 RNA | PrThr | Pt | Saliva | Ord | Probe.amp.tar | 2.68 | Ambry Genetics COVID-19 RT-PCR Test | 20210122.1
| Ambry Genetics Laboratory | LDT: Ambry COVID-19 RT-PCR Test* | SARS-CoV-2 Result | saliva specimens (119342007^Saliva specimen^SCT) | INVALID (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) SARS-CoV-2 Not Detected (260415000^Not Detected^SCT) Positive SARSCoV-2 (260415000^Not Detected^SCT) | 94845-5 | SARS-CoV-2 (COVID-19) RNA [Presence] in Saliva (oral fluid) by NAA with probe detection | 95826-4 | SARS-CoV-2 (COVID-19) RNA panel - Saliva (oral fluid) by NAA with probe detection | Testing is limited to Ambry Genetics Laboratory located at 7 Argonaut, Aliso Viejo, CA 92656, which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests. | Ambry COVID-19 RT-PCR Test_Ambry Genetics Laboratory | EUA | ABI 7500 FAST Real-Time PCR_Thermo Fisher | MNI | SARS coronavirus 2 RNA | PrThr | Pt | Saliva | Ord | Probe.amp.tar | 2.68 | Ambry Genetics COVID-19 RT-PCR Test | 20210122.1
| Ambry Genetics Laboratory | LDT: Ambry COVID-19 RT-PCR Test* | SARS-CoV-2 Result | saliva specimens (119342007^Saliva specimen^SCT) | INVALID (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) SARS-CoV-2 Not Detected (260415000^Not Detected^SCT) Positive SARSCoV-2 (260415000^Not Detected^SCT) | 94845-5 | SARS-CoV-2 (COVID-19) RNA [Presence] in Saliva (oral fluid) by NAA with probe detection | 95826-4 | SARS-CoV-2 (COVID-19) RNA panel - Saliva (oral fluid) by NAA with probe detection | Testing is limited to Ambry Genetics Laboratory located at 7 Argonaut, Aliso Viejo, CA 92656, which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests. | Ambry COVID-19 RT-PCR Test_Ambry Genetics Laboratory | EUA | ABI 7500 Real-Time PCR_Thermo Fisher | MNI | SARS coronavirus 2 RNA | PrThr | Pt | Saliva | Ord | Probe.amp.tar | 2.68 | Ambry Genetics COVID-19 RT-PCR Test | 20210122.1
| Ambry Genetics Laboratory | LDT: Ambry COVID-19 RT-PCR Test* | SARS-CoV-2 Result | saliva specimens (119342007^Saliva specimen^SCT) | INVALID (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) SARS-CoV-2 Not Detected (260415000^Not Detected^SCT) Positive SARSCoV-2 (260415000^Not Detected^SCT) | 94845-5 | SARS-CoV-2 (COVID-19) RNA [Presence] in Saliva (oral fluid) by NAA with probe detection | 95826-4 | SARS-CoV-2 (COVID-19) RNA panel - Saliva (oral fluid) by NAA with probe detection | Testing is limited to Ambry Genetics Laboratory located at 7 Argonaut, Aliso Viejo, CA 92656, which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests. | Ambry COVID-19 RT-PCR Test_Ambry Genetics Laboratory | EUA | ABI QuantStudio 5 Real-Time PCR_Thermo Fisher | MNI | SARS coronavirus 2 RNA | PrThr | Pt | Saliva | Ord | Probe.amp.tar | 2.68 | Ambry Genetics COVID-19 RT-PCR Test | 20210122.1
| Ambry Genetics Laboratory | LDT: Ambry COVID-19 RT-PCR Test* | SARS-CoV-2 Result | saliva specimens (119342007^Saliva specimen^SCT) | INVALID (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) SARS-CoV-2 Not Detected (260415000^Not Detected^SCT) Positive SARSCoV-2 (260415000^Not Detected^SCT) | 94845-5 | SARS-CoV-2 (COVID-19) RNA [Presence] in Saliva (oral fluid) by NAA with probe detection | 95826-4 | SARS-CoV-2 (COVID-19) RNA panel - Saliva (oral fluid) by NAA with probe detection | Testing is limited to Ambry Genetics Laboratory located at 7 Argonaut, Aliso Viejo, CA 92656, which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests. | Ambry COVID-19 RT-PCR Test_Ambry Genetics Laboratory | EUA | ABI QuantStudio 7 Flex_Thermo Fisher | MNI | SARS coronavirus 2 RNA | PrThr | Pt | Saliva | Ord | Probe.amp.tar | 2.68 | Ambry Genetics COVID-19 RT-PCR Test | 20210122.1
1/25/2021-JS: Analytes are N1, N2, RP | Bio-Rad Laboratories, Inc. | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit* | SARS-CoV-2 RNA Interpretation | nasopharyngeal swabs (258500001^Nasopharyngeal swab^SCT) oropharyngeal swabs (258529004^Throat swab^SCT) nasal swabs (445297001^Swab of internal nose^SCT) anterior nasal swabs (697989009^Anterior nares swab^SCT) mid-turbinate nasal swabs (871810001^Mid-turbinate nasal swab^SCT) nasal aspirates (429931000124105^Nasal aspirate specimen^SCT) nasal washes (433871000124101^Nasal washings^SCT) | SARS-CoV-2 detected (260373001^Detected^SCT) Inconclusive (419984006^Inconclusive^SCT) SARS-CoV-2 not detected (260415000^Not Detected^SCT) Invalid Result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 94533-7 | SARS-CoV-2 (COVID-19) N gene [Presence] in Respiratory specimen by NAA with probe detection | 94531-1 | SARS-CoV-2 (COVID-19) RNA panel - Respiratory specimen by NAA with probe detection |  | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit_Bio-Rad Laboratories, Inc. | EUA | CFX384 Touch Real-Time PCR_BioRad | MNI | SARS coronavirus 2 N gene | PrThr | Pt | Respiratory | Ord | Probe.amp.tar | 2.68 | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit | 20210115.2 | an121 | SARS-CoV-2 RNA
| Bio-Rad Laboratories, Inc. | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit* | SARS-CoV-2 RNA Interpretation | nasopharyngeal swabs (258500001^Nasopharyngeal swab^SCT) oropharyngeal swabs (258529004^Throat swab^SCT) nasal swabs (445297001^Swab of internal nose^SCT) anterior nasal swabs (697989009^Anterior nares swab^SCT) mid-turbinate nasal swabs (871810001^Mid-turbinate nasal swab^SCT) nasal aspirates (429931000124105^Nasal aspirate specimen^SCT) nasal washes (433871000124101^Nasal washings^SCT) | SARS-CoV-2 detected (260373001^Detected^SCT) Inconclusive (419984006^Inconclusive^SCT) SARS-CoV-2 not detected (260415000^Not Detected^SCT) Invalid Result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 94533-7 | SARS-CoV-2 (COVID-19) N gene [Presence] in Respiratory specimen by NAA with probe detection | 94531-1 | SARS-CoV-2 (COVID-19) RNA panel - Respiratory specimen by NAA with probe detection |  | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit_Bio-Rad Laboratories, Inc. | EUA | CFX96 Touch Real-Time PCR System_BioRad | MNI | SARS coronavirus 2 N gene | PrThr | Pt | Respiratory | Ord | Probe.amp.tar | 2.68 | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit | 20210115.2 | an121 | SARS-CoV-2 RNA
| Bio-Rad Laboratories, Inc. | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit* | SARS-CoV-2 RNA Interpretation | nasopharyngeal swabs (258500001^Nasopharyngeal swab^SCT) oropharyngeal swabs (258529004^Throat swab^SCT) nasal swabs (445297001^Swab of internal nose^SCT) anterior nasal swabs (697989009^Anterior nares swab^SCT) mid-turbinate nasal swabs (871810001^Mid-turbinate nasal swab^SCT) nasal aspirates (429931000124105^Nasal aspirate specimen^SCT) nasal washes (433871000124101^Nasal washings^SCT) | SARS-CoV-2 detected (260373001^Detected^SCT) Inconclusive (419984006^Inconclusive^SCT) SARS-CoV-2 not detected (260415000^Not Detected^SCT) Invalid Result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 94533-7 | SARS-CoV-2 (COVID-19) N gene [Presence] in Respiratory specimen by NAA with probe detection | 94531-1 | SARS-CoV-2 (COVID-19) RNA panel - Respiratory specimen by NAA with probe detection |  | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit_Bio-Rad Laboratories, Inc. | EUA | CFX96 DX Real-Time PCR System_BioRad | MNI | SARS coronavirus 2 N gene | PrThr | Pt | Respiratory | Ord | Probe.amp.tar | 2.68 | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit | 20210115.2 | an121 | SARS-CoV-2 RNA
| Bio-Rad Laboratories, Inc. | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit* | SARS-CoV-2 RNA Interpretation | nasopharyngeal swabs (258500001^Nasopharyngeal swab^SCT) oropharyngeal swabs (258529004^Throat swab^SCT) nasal swabs (445297001^Swab of internal nose^SCT) anterior nasal swabs (697989009^Anterior nares swab^SCT) mid-turbinate nasal swabs (871810001^Mid-turbinate nasal swab^SCT) nasal aspirates (429931000124105^Nasal aspirate specimen^SCT) nasal washes (433871000124101^Nasal washings^SCT) | SARS-CoV-2 detected (260373001^Detected^SCT) Inconclusive (419984006^Inconclusive^SCT) SARS-CoV-2 not detected (260415000^Not Detected^SCT) Invalid Result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 94533-7 | SARS-CoV-2 (COVID-19) N gene [Presence] in Respiratory specimen by NAA with probe detection | 94531-1 | SARS-CoV-2 (COVID-19) RNA panel - Respiratory specimen by NAA with probe detection |  | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit_Bio-Rad Laboratories, Inc. | EUA | CFX Opus 96_BioRad | MNI | SARS coronavirus 2 N gene | PrThr | Pt | Respiratory | Ord | Probe.amp.tar | 2.68 | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit | 20210115.2 | an121 | SARS-CoV-2 RNA
| Bio-Rad Laboratories, Inc. | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit* | SARS-CoV-2 RNA Interpretation | nasopharyngeal swabs (258500001^Nasopharyngeal swab^SCT) oropharyngeal swabs (258529004^Throat swab^SCT) nasal swabs (445297001^Swab of internal nose^SCT) anterior nasal swabs (697989009^Anterior nares swab^SCT) mid-turbinate nasal swabs (871810001^Mid-turbinate nasal swab^SCT) nasal aspirates (429931000124105^Nasal aspirate specimen^SCT) nasal washes (433871000124101^Nasal washings^SCT) | SARS-CoV-2 detected (260373001^Detected^SCT) Inconclusive (419984006^Inconclusive^SCT) SARS-CoV-2 not detected (260415000^Not Detected^SCT) Invalid Result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 94533-7 | SARS-CoV-2 (COVID-19) N gene [Presence] in Respiratory specimen by NAA with probe detection | 94531-1 | SARS-CoV-2 (COVID-19) RNA panel - Respiratory specimen by NAA with probe detection |  | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit_Bio-Rad Laboratories, Inc. | EUA | CFX Opus 384_BioRad | MNI | SARS coronavirus 2 N gene | PrThr | Pt | Respiratory | Ord | Probe.amp.tar | 2.68 | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit | 20210115.2 | an121 | SARS-CoV-2 RNA
| Bio-Rad Laboratories, Inc. | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit* | SARS-CoV-2 RNA Interpretation | nasopharyngeal swabs (258500001^Nasopharyngeal swab^SCT) oropharyngeal swabs (258529004^Throat swab^SCT) nasal swabs (445297001^Swab of internal nose^SCT) anterior nasal swabs (697989009^Anterior nares swab^SCT) mid-turbinate nasal swabs (871810001^Mid-turbinate nasal swab^SCT) nasal aspirates (429931000124105^Nasal aspirate specimen^SCT) nasal washes (433871000124101^Nasal washings^SCT) | SARS-CoV-2 detected (260373001^Detected^SCT) Inconclusive (419984006^Inconclusive^SCT) SARS-CoV-2 not detected (260415000^Not Detected^SCT) Invalid Result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 94533-7 | SARS-CoV-2 (COVID-19) N gene [Presence] in Respiratory specimen by NAA with probe detection | 94531-1 | SARS-CoV-2 (COVID-19) RNA panel - Respiratory specimen by NAA with probe detection |  | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit_Bio-Rad Laboratories, Inc. | EUA | CFX384 Touch Real-Time PCR_BioRad | MNI | SARS coronavirus 2 N gene | PrThr | Pt | Respiratory | Ord | Probe.amp.tar | 2.68 | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit | 20210115.2 | an121 | SARS-CoV-2 RNA
| Bio-Rad Laboratories, Inc. | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit* | SARS-CoV-2 RNA Interpretation | nasopharyngeal swabs (258500001^Nasopharyngeal swab^SCT) oropharyngeal swabs (258529004^Throat swab^SCT) nasal swabs (445297001^Swab of internal nose^SCT) anterior nasal swabs (697989009^Anterior nares swab^SCT) mid-turbinate nasal swabs (871810001^Mid-turbinate nasal swab^SCT) nasal aspirates (429931000124105^Nasal aspirate specimen^SCT) nasal washes (433871000124101^Nasal washings^SCT) | SARS-CoV-2 detected (260373001^Detected^SCT) Inconclusive (419984006^Inconclusive^SCT) SARS-CoV-2 not detected (260415000^Not Detected^SCT) Invalid Result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 94533-7 | SARS-CoV-2 (COVID-19) N gene [Presence] in Respiratory specimen by NAA with probe detection | 94531-1 | SARS-CoV-2 (COVID-19) RNA panel - Respiratory specimen by NAA with probe detection |  | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit_Bio-Rad Laboratories, Inc. | EUA | ABI 7500 FAST Real-Time PCR_Thermo Fisher | MNI | SARS coronavirus 2 N gene | PrThr | Pt | Respiratory | Ord | Probe.amp.tar | 2.68 | Bio-Rad Reliance SARS-CoV-2 RT-PCR Assay Kit | 20210115.2 | an121 | SARS-CoV-2 RNA

## LOINC Mapping Columns
LIVD Spreadsheet Guidance
· Manufacturer – the name of the Instrument manufacturer or Testkit manufacturer
· Model – the name of the Instrument or the Testkit
· Vendor Analyte Name – the human-readable text the vendor uses to identify the analyte. The text might be displayed by the instrument or could be used within an assay insert or instructions for use.
· Vendor Specimen Description – the human-readable text that provides information about the specimen used for the test, such as “Serum or Plasma.” The field documents the vendor description of the specimen used for the IVD test. The field may contain multiple specimen types. For this catalog, the SNOMED-CT mapping for each Specimen is provided in parenthesis
o Serum (119364003^Serum specimen^SCT)
o Plasma (119361006^Plasma specimen^SCT)
· Vendor Result Description – the human-readable text that provides information about the result that is produced.
o For non-numeric results, this field contains the possible result values, along with the SNOMED-CT mapping
§ Positive (10828004^Positive^SCT)
§ Negative (260385009^Negative^SCT)
o For numeric results and associated units of measure this field describes the result by including a representative unit of measure, preferably represented as a UCUM unit.
· Test Performed LOINC® Code – the appropriate LOINC code for the Test Performed mapping
· Test Performed LOINC Long Name – the long name for the Test Performed LOINC Code
· Test Ordered LOINC Code – the appropriate LOINC code for the Test Ordered mapping
· Test Ordered LOINC Long Name– the long name for the Test Ordered LOINC Order
· Vendor Comment – human-readable text for clarification, such as “This is a STAT (prioritized) version of the test”
· Testkit Name ID – the Testkit Device Identifier if known, otherwise the concatenation of the <Diagnostic (Letter of Authorization)>_<Manufacturer> fields from the FDA EUA Website
· Testkit Name ID Type – GTIN when the Device Identifier is known, otherwise EUA when the Emergency Use Authorization identifiers are used
· Vendor Analyte Code – one of two possible values
o For an automated test, it contains Vendor Transmission Code used by the instrument when sending the test result to a health information system, such as an LIS.
o For a manual test, it is the Vendor Analyte Identifier for the test result produced by the Test Kit.
· Vendor Reference ID – a vendor identifier, such as an identifier that can be used to locate the associated assay insert published by the vendor. This attribute may contain the material number used to order the product from the manufacturer.
· Equipment UID – when available, the Device Identifier of the instrument. If not known, then the concatenation of the Model and Manufacturer, <Model>_<Manufacturer>
· Equipment UID Type – GTIN when the Device Identifier is provided, otherwise MNI when model and manufacturer are provided
· Component – the LOINC Component/analyte
· Property – the LOINC Kind of Property
· Time – the LOINC Time Aspect
· System – The LOINC System (Sample)
· Scale – the LOINC Type of Scale
· Method – the LOINC Type of Method
· Publication Version ID – human-readable information used to differentiate mapping publication versions
· LOINC Version ID – the version of LOINC used to establish the LOINC mapping

## Instrument List (hidden)
Equipment ID | Equipment Name | Equipment Name Type | Equipment UID | Equipment UID Type | Equipment Comment
1000 | (Test kit device) | (NA) |  |  | This test is run on the rapid test kit device, not a separate instrument.
1231 | a luminometer_NA | MNI |  |  | Some Package Inserts just indicate that the test is run on "a luminometer"
1230 | a microplate reader_NA | MNI |  |  | Some Package Inserts just indicate that the test is run on "a microplate reader"
1241 | an ELISA spectrophotometer_NA | MNI |  |  | Some Package Inserts just indicate that the test is run on "an ELISA reader" or "an ELISA spectrophotometer"
1179 | ABI 3500xL Dx Genetic Analyzer_Thermo Fisher | MNI
1066 | ABI 3500xL Genetic Analyzer_Thermo Fisher | MNI
1065 | ABI 3730xl DNA Analyzer_Thermo Fisher | MNI
1002 | ABI 7500 FAST Dx Real-Time PCR_Thermo Fisher | MNI | 10190302000222 | DII
1074 | ABI 7500 FAST Real-Time PCR_Thermo Fisher | MNI
1075 | ABI 7500 Real-Time PCR_Thermo Fisher | MNI
1076 | ABI 7900HT Fast Real-Time PCR_Thermo Fisher | MNI
1064 | ABI GeneAmp PCR System 9700_Thermo Fisher | MNI
1077 | ABI MiniAmp Thermal Cycler_Thermo Fisher | MNI
1063 | ABI PRISM 7000 Detection System_Thermo Fisher | MNI
1067 | ABI QuantStudio 12K Flex_Thermo Fisher | MNI
1062 | ABI QuantStudio 3 Real-Time PCR_Thermo Fisher | MNI
1061 | ABI QuantStudio 3D Digital PCR_Thermo Fisher | MNI
1001 | ABI QuantStudio 5 Dx Real-Time PCR_Thermo Fisher | MNI | 10190302015592 | DII
1078 | ABI QuantStudio 6 Flex_Thermo Fisher | MNI
1128 | ABI QuantStudio 6 Pro_Thermo Fisher | MNI
1079 | ABI QuantStudio 7 Flex_Thermo Fisher | MNI
1080 | ABI QuantStudio 7 Pro_Thermo Fisher | MNI
1081 | ABI QuantStudio Dx_Thermo Fisher | MNI
1132 | ABI StepOne Real-Time PCR_Thermo Fisher | MNI
1133 | ABI StepOnePlus Real-Time PCR_Thermo Fisher | MNI
1068 | ABI Veriti Dx Thermal Cycler_Thermo Fisher | MNI
1082 | ABI Veriti Thermal Cycler_Thermo Fisher | MNI
1083 | ABI ViiA 7 PCR System_Thermo Fisher | MNI
1139 | Access 2 Immunoassay System_BeckmanCoulter | MNI
1138 | Access Immunoassay System_BeckmanCoulter | MNI
1161 | Accula Dock_Mesa Biotech | MNI
1178 | ADVIA Centaur CP system_Siemens | MNI
1069 | ADVIA Centaur XP system_Siemens | MNI
1070 | ADVIA Centaur XPT system_Siemens | MNI
1059 | Alinity i_Abbott | MNI | 00380740137366 | DII
1058 | Alinity m_Abbott | MNI | 00884999048034 | DII
1264 | Araya System_Biosearch | MNI
1057 | Architect i1000SR_Abbott | MNI | 00380740001537 | DII
1056 | Architect i2000SR_Abbott | MNI | 00380740006235 | DII
1071 | Aria Mx_Agilent Technologies | MNI
1084 | Atellica IM Analyzer_Siemens | MNI
1085 | BD MAX System_Becton Dickinson | MNI | 00382904419165 | DII
1159 | BD Veritor Plus System_Becton Dickinson | MNI
1087 | BioCode MDx-3000_Applied BioCode | MNI
1172 | BIO-FLASH Instrument_Inova | MNI
1088 | Biomark HD system_Standard BioTools Inc. | MNI
1089 | Biomeme Franklin three9 Thermocycler_Biomeme | MNI
1180 | BioPlex 2200 Instrument_BioRad | MNI
1055 | BioTek 800 TS Absorbance Reader_BioTek | MNI
1252 | Bravo BenchCel Workstation_Agilent | MNI
1157 | C1000 Dx Thermal Cycler_BioRad | MNI
1091 | CFX Connect Real-Time PCR System_BioRad | MNI
1154 | CFX Opus 384_BioRad | MNI
1153 | CFX Opus 96_BioRad | MNI
1097 | CFX384 Real-Time PCR_BioRad | MNI
1131 | CFX384 Touch Real-Time PCR_BioRad | MNI
1156 | CFX96 DX Real-Time PCR System ORM_BioRad | MNI |  |  | ORM is Optical Reading Module
1092 | CFX96 DX Real-Time PCR System_BioRad | MNI
1054 | CFX96 Real-Time PCR System_BioRad | MNI
1053 | CFX96 Touch Deep Well Real-Time PCR_BioRad | MNI
1093 | CFX96 Touch Real-Time PCR System_BioRad | MNI
1130 | Clear Dx system_Clear Labs | MNI
1148 | Clip Analyzer_Luminostics | MNI
1094 | cobas 6800 System_Roche | MNI | 04015630935406 | DII
1095 | cobas 8800 System_Roche | MNI | 04015630935390 | DII
1147 | cobas e 402 analyzer_Roche | MNI | 7613336165300 | DII | Roche calls the Equipment UID type 'GTIN'
1146 | cobas e 411 analyzer_Roche | MNI | 4015630924721 | DII | Roche calls the Equipment UID type 'GTIN'
1051 | cobas e 601 analyzer_Roche | MNI | 4015630924714 | DII | Roche calls the Equipment UID type 'GTIN'
1050 | cobas e 602 analyzer_Roche | MNI | 4015630929764 | DII | Roche calls the Equipment UID type 'GTIN'
1049 | cobas e 801 analyzer_Roche | MNI | 4015630946198 | DII | Roche calls the Equipment UID type 'GTIN'
1003 | cobas Liat Analyzer_Roche | MNI
1096 | cobas z 480 Instrument_Roche | MNI
1048 | cobas 8000 modular analyzer_Roche | MNI
1047 | CoDx Box_Co-Diagnostics | MNI
1046 | Cue Health Monitoring System_Cue Health | MNI
1255 | DASH Analyzer_Minute Molecular Diagnostics | MNI
1045 | Dimension EXL 200_Siemens | MNI
1044 | Dimension EXL with LOCI Module_Siemens | MNI
1043 | Dimension Vista System_Siemens | MNI
1042 | DropX-2000 digital PCR system_PreciGenome | MNI
1099 | DTPrime5_DNA Technologie | MNI
1265 | DxHub Instrument_DxLab | MNI
1141 | Dynex Agility System_Dynex Technologies | MNI
1177 | Dynex DS2 System_Dynex Technologies | MNI
1176 | Dynex DSX System_Dynex Technologies | MNI
1100 | DZ-lite 3000 Plus Analyzer_Diazyme | MNI
1257 | Eco 48 Real-Time qPCR System_PCRmax | MNI
1101 | EdvoCycler 2_Edvotek | MNI
1102 | EdvoCycler Jr_Edvotek | MNI
1041 | Encompass MDx Workstation_Rheonix | MNI
1237 | EUROLabWorkstation ELISA_EUROIMMUN | MNI
1040 | FilmArray 2.0 System_BioFire | MNI
1039 | FilmArray Torch System_BioFire | MNI
1104 | FLEXMAP 3D Sys(MFIdivider on)_Luminex Corp | MNI
1103 | FLEXMAP 3D System_Luminex Corp | MNI
1038 | FLEXMAP dual laser cytometer_Luminex Corp | MNI
1037 | Franklin Real-Time PCR Thermocycler_Biomeme | MNI
1136 | FREND System_NanoEntek | MNI
1036 | GeneXpert Dx System_Cepheid | MNI
1035 | GeneXpert Infinity System_Cepheid | MNI
1145 | GeneXpert Omni System_Cepheid | MNI
1034 | GeneXpert Xpress System_Cepheid | MNI
1105 | Genie HT instrument_OptiGene | MNI
1033 | GenMark ePlex instrument_GenMarkDx | MNI
1129 | GridION nanopore sequencer_Oxford Nanopore | MNI
1171 | Hydrocycler2_Biosearch | MNI
1032 | ID NOW Instrument_Abbott | MNI | 00811877010616 | DII
1106 | Illumina NovaSeq 6000 SP_Illumina | MNI
1170 | IntelliQube qPCR system_Biosearch | MNI
1158 | iSYS Multi-Discipline Automated System_IDS | MNI |  |  | IDS is Immunodiagnostic Systems
1030 | LIAISON MDX_DiaSorin | MNI
1135 | LIAISON XL Analyzer_DiaSorin | MNI
1234 | Liberty16 mobile real time PCR_Ubiquitome | MNI
1108 | LightCycler 480 Instrument II_Roche | MNI
1107 | LightCycler 480 Instrument_Roche | MNI
1029 | LightCycler 96 Instrument_Roche | MNI
1109 | Luminex 200 System_Luminex Corp | MNI
1028 | Luminex ARIES M1 System_Luminex Corp | MNI
1027 | Luminex ARIES System_Luminex Corp | MNI
1112 | Luminex MAGPIX System_Luminex Corp | MNI
1110 | LumiraDx Platform_LumiraDx | MNI
1026 | m2000 RealTime System_Abbott | MNI | 00884999031814 | DII
1111 | MAGLUMI 2000 series analyzer_Shenzhen | MNI
1113 | MassARRAY System_Agena Bioscience | MNI
1140 | Maverick Diagnostic System_Genalyte | MNI
1098 | MD-Bio Heater_Detectachem | MNI
1025 | Mic PCR cycler_Bio Molecular Systems | MNI
1114 | MINI VIDAS_bioMérieux | MNI
1142 | MiSeq System_Illumina | MNI
1127 | MosaIQ 125_Quotient | MNI
1115 | MS Fast Analyzer_Sophonix | MNI
1024 | NeuMoDx 288 Molecular System_NeuMoDx | MNI
1023 | NeuMoDx 96 Molecular System_NeuMoDx | MNI
1022 | NextSeq 500 Sequencing System_Illumina | MNI
1021 | NextSeq 550 Sequencing System_Illumina | MNI
1144 | NextSeq 550Dx Sequencing System_Illumina | MNI
1031 | NovaSeq 6000 Sequencing System_Illumina | MNI
1116 | Panther Fusion System_Hologic | MNI
1117 | Panther System_Hologic | MNI
1152 | Phadia 250 instrument_Phadia AB | MNI
1020 | Platelia system_BioRad | MNI
1260 | PNY-1000 instrument_InspectIR | MNI
1019 | PowerGene 9600 Plus Real-time PCR_Atila | MNI
1155 | Procleix Panther System_Grifols | MNI
1229 | QIAreach eHub_QIAGEN GmbH | MNI
1018 | QIAstat-Dx Analyzer 1.0_QIAGEN GmbH | MNI
1169 | Qorvo Omnia Instrument_Qorvo | MNI
1073 | qTower3 G_Analytik Jena GmbH | MNI
1174 | qTower3_Analytik Jena GmbH | MNI
1267 | qTower3 84 G_Analytik Jena GmbH | MNI
1266 | qTower3 84_Analytik Jena GmbH | MNI
1227 | Q-View Imager LS_Quansys | MNI
1017 | Q-View Imager Pro_Quansys | MNI
1016 | QX200 Droplet Digital PCR System_BioRad | MNI
1119 | Rapid COVID-19 IgM/IgG Combo Kit_Megna Health | MNI
1015 | Real Time Digital PCR Instrument_Gnomegen | MNI
1245 | Revogene instrument_Meridian | MNI
1120 | Rotor-Gene Q 5plex HRM_QIAGEN GmbH | MNI
1014 | Rotor-Gene Q 5plex_QIAGEN GmbH | MNI
1134 | Rotor-Gene Q MDx_QIAGEN GmbH | MNI
1118 | Rotor-Gene Q_QIAGEN GmbH | MNI
1261 | Sal6830 Point of Care PCR System_MicroGEM | MNI
1143 | Sampinute Analyzer_Celltrion | MNI
1173 | SensoSpot Microarray Analyzer_Sensovation AG | MNI
1137 | SensoSpot Microarray Scanner_Sensovation | MNI
1121 | Sentosa SA201 Real-Time PCR_Vela Diagnostics | MNI
1160 | Silaris Dock_Sekisui Diagnostics | MNI
1150 | Simoa HD-X Analyzer_Quanterix | MNI
1013 | SLAN-96P_Shanghai Hongshi | MNI
1012 | Sofia 2 Instrument_Quidel | MNI
1011 | Sofia Instrument_Quidel | MNI
1149 | Solana Instrument_Quidel | MNI |  |  | Solana is a bench top instrument that combines Quidel's proprietary helicase-dependent amplification (HDA) with fluorescence detection
1151 | Solas 8_MatMaCorp | MNI |  |  | The Solas 8 is a portable, four channel fluorescence detection system
1238 | Sprinter XL_EUROIMMUN | MNI
1072 | Stratagene Mx3005P_Agilent Technologies | MNI
1010 | Synergy NEO2 Hybrid Multi-Mode Reader_BioTek | MNI
1090 | T100 Thermal Cycler_BioRad | MNI
1009 | T2Dx Instrument_T2 Biosystems | MNI
1086 | T5005-3205_Benchmark Scientific | MNI
1244 | Talis One instrument_Talis Biomedical | MNI
1122 | Techne 5Prime/02_Techne | MNI
1123 | Thermo Fisher QS1_Thermo Fisher | MNI
1162 | UniCel DxC 600i Synchron Access_BeckmanCoulter | MNI
1163 | UniCel DxC 660i Synchron Access_BeckmanCoulter | MNI
1164 | UniCel DxC 680i Synchron Access_BeckmanCoulter | MNI
1165 | UniCel DxC 860i Synchron Access_BeckmanCoulter | MNI
1166 | UniCel DxC 880i Synchron Access_BeckmanCoulter | MNI
1167 | UniCel DxI 600 Access System_BeckmanCoulter | MNI
1168 | UniCel DxI 800 Access System_BeckmanCoulter | MNI
1253 | UOL COVID-19 Instrument_Uh Oh Labs | MNI
1124 | Veriti 96 Fast Thermal Cycler_Thermo Fisher | MNI
1125 | VIDAS 3_bioMérieux | MNI
1126 | VIDAS_bioMérieux | MNI
1006 | VITROS 3600_Ortho-Clinical | MNI
1005 | VITROS 5600_Ortho-Clinical | MNI
1008 | VITROS ECi_Ortho-Clinical | MNI
1007 | VITROS ECiQ_Ortho-Clinical | MNI
1004 | VITROS XT 7600_Ortho-Clinical | MNI

## Release Notes
Publication Version ID Last Changed | Change Description | Manufacturer | Model | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Test Performed LOINC Code | Test Performed LOINC Long Name | Test Ordered LOINC Code | Test Ordered LOINC Long Name | Vendor Comment | Vendor Analyte Code | Vendor Reference ID | Testkit Name ID | Testkit Name ID Type | Equipment UID | Equipment UID Type | Component | Property | Time | System | Scale | Method | Publication Version ID | LOINC Version ID
20240516 | A new LOINC was created for Mpox tests that produce a specific result of Mpox Clade II and non-variola orthopox virus DNA. According to the CDC, Clade I and clade II of Mpox cause different illnesses, with Clade II causing the global outbreak and Clade I being more lethal. The existing LOINC does not specify the Clade, whereas the Cepheid test does. The new code has been added to the test performed. (59774002^Monkeypox virus^SCT) is replaced by (61881000284108^Monkeypox virus clade II^SCT) to provide a clade-specific result in the Vendor Result Description column. | Cepheid | Xpert Mpox | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola OPXV detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) MPXV Clade II detected (59774002^Monkeypox virus^SCT) MPXV Clade II Not Detected, Non-Variola OPXV Not Detected (260415000^Not Detected^SCT) Invalid (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 101399-4 | Monkeypox virus and Orthopoxvirus.non-variola DNA [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen |  |  |  | Xpert Mpox_Cepheid | EUA | GeneXpert Dx System_Cepheid | MNI | Monkeypox virus & Orthopoxvirus.non-variola DNA | Prid | Pt | XXX | Nom | Probe.amp.tar | 20230308 | 2.74
20240516 | A new LOINC was created for Mpox tests that produce a specific result of Mpox Clade II and non-variola orthopox virus DNA. According to the CDC, Clade I and clade II of Mpox cause different illnesses, with Clade II causing the global outbreak and Clade I being more lethal. The existing LOINC does not specify the Clade, whereas the Cepheid test does. The new code has been added to the test performed. (59774002^Monkeypox virus^SCT) is replaced by (61881000284108^Monkeypox virus clade II^SCT) to provide a clade-specific result in the Vendor Result Description column. | Cepheid | Xpert Mpox | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola OPXV detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) MPXV Clade II detected (59774002^Monkeypox virus^SCT) MPXV Clade II Not Detected, Non-Variola OPXV Not Detected (260415000^Not Detected^SCT) Invalid (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 101399-4 | Monkeypox virus and Orthopoxvirus.non-variola DNA [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen |  |  |  | Xpert Mpox_Cepheid | EUA | GeneXpert Infinity System_Cepheid | MNI | Monkeypox virus & Orthopoxvirus.non-variola DNA | Prid | Pt | XXX | Nom | Probe.amp.tar | 20230308 | 2.74
20240516 | A new LOINC was created for Mpox tests that produce a specific result of Mpox Clade II and non-variola orthopox virus DNA. According to the CDC, Clade I and clade II of Mpox cause different illnesses, with Clade II causing the global outbreak and Clade I being more lethal. The existing LOINC does not specify the Clade, whereas the Cepheid test does. The new code has been added to the test performed. (59774002^Monkeypox virus^SCT) is replaced by (61881000284108^Monkeypox virus clade II^SCT) to provide a clade-specific result in the Vendor Result Description column. | Cepheid | Xpert Mpox | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola OPXV detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) MPXV Clade II detected (59774002^Monkeypox virus^SCT) MPXV Clade II Not Detected, Non-Variola OPXV Not Detected (260415000^Not Detected^SCT) Instrument Error/No Result-Repeat Test (455371000124106^Invalid result^SCT) | 101399-4 | Monkeypox virus and Orthopoxvirus.non-variola DNA [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen |  |  |  | Xpert Mpox_Cepheid | EUA | GeneXpert Xpress System_Cepheid | MNI | Monkeypox virus & Orthopoxvirus.non-variola DNA | Prid | Pt | XXX | Nom | Probe.amp.tar | 20230308 | 2.74
20230329 | Changed "ABI QuantStudio 5 Real-Time PCR_Thermo Fisher" (Equipment ID: 10190302015592) to "ABI QuantStudio 5 Dx Real-Time PCR_Thermo Fisher" in Instrument List tab. Removed "ABI QuantStudio 5 Dx_Thermo Fisher" from "Instrument List" tab. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
20221214 | Added Equipment UID and UID type for cobas 6800 system (04015630935406) in LOINC mapping tab and in Instrument List tab | Roche Molecular Systems, Inc. | cobas MPXV for use on the cobas 6800/8800 Systems (cobas MPXV) | MPXV DNA (clade I/II) | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | MPXV Negative (260415000^Not Detected^SCT) MPXV Positive (260373001^Detected^SCT) MPXV Invalid (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test does not differentiate between the two clades. |  |  | cobas MPXV for use on 6800/8800 Systems_Roche Molecular Systems, Inc. | EUA | 04015630935406 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221130 | 2.73
20221214 | Added Equipment UID and UID type for cobas 8800 system (04015630935390) in LOINC mapping tab and in Instrument List tab | Roche Molecular Systems, Inc. | cobas MPXV for use on the cobas 6800/8800 Systems (cobas MPXV) | MPXV DNA (clade I/II) | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | MPXV Negative (260415000^Not Detected^SCT) MPXV Positive (260373001^Detected^SCT) MPXV Invalid (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test does not differentiate between the two clades. |  |  | cobas MPXV for use on 6800/8800 Systems_Roche Molecular Systems, Inc. | EUA | 04015630935390 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221130 | 2.73
20221102 | Model name changed to "Alinity m" Vendor Analyte Name changed to "MPXV" Vendor Specimen Description changed to "Human lesion swab collected in VTM" Vendor Analyte Code added "7802" Vendor Reference ID added "09R06" | Abbott Molecular, Inc. | Alinity m MPXV AMP Kit* | Monkeypox virus DNA (Clade I/II) | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | MPXV Negative (260415000^Not Detected^SCT) MPXV Positive (260373001^Detected^SCT) | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | 100383-9 | Monkeypox virus DNA [Presence] in Specimen by NAA with probe detection | The test does not differentiate between the two clades. A positive result will most likely mean that it is monkeypox virus clade II since it is the only member of the Orthopoxvirus genus circulating in the US at this time, but it could also indicate the presence of monkeypox virus clade I. |  |  | Alinity m MPXV AMP Kit_Abbott Molecular Inc. | EUA | 00884999048034 | DII | Monkeypox virus DNA | PrThr | Pt | XXX | Ord | Probe.amp.tar | 20221012 | 2.73
20230308 | Updated pre-released LOINC version ID "2.74-pre" to official version ID "2.74". Changed publication version ID to 20230308. | Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola orthopoxvirus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) Non-variola orthopoxvirus and Monkeypox virus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT and 59774002^Monkeypox virus^SCT) Monkeypox virus detected (59774002^Monkeypox virus^SCT) Not Detected (260415000^Not Detected^SCT) Invalid result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 101399-4 | Monkeypox virus and Orthopoxvirus.non-variola DNA [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | 10190302015592 | DII | Monkeypox virus & Orthopoxvirus.non-variola DNA | Prid | Pt | XXX | Nom | Probe.amp.tar | 20230111 | 2.74-pre
20230308 | Updated pre-released LOINC version ID "2.74-pre" to official version ID "2.74". Changed publication version ID to 20230308. | Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola orthopoxvirus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) Non-variola orthopoxvirus and Monkeypox virus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT and 59774002^Monkeypox virus^SCT) Monkeypox virus detected (59774002^Monkeypox virus^SCT) Not Detected (260415000^Not Detected^SCT) Invalid result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 101399-4 | Monkeypox virus and Orthopoxvirus.non-variola DNA [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 5 Dx_Thermo Fisher | MNI | Monkeypox virus & Orthopoxvirus.non-variola DNA | Prid | Pt | XXX | Nom | Probe.amp.tar | 20230111 | 2.74-pre
20230308 | Updated pre-released LOINC version ID "2.74-pre" to official version ID "2.74". Changed publication version ID to 20230308. | Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Monkeypox virus and Non-variola Orthopoxvirus Result Interpretation | Lesion swab specimen (16210971000119108^Swab from lesion^SCT) | Non-variola orthopoxvirus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT) Non-variola orthopoxvirus and Monkeypox virus detected (721920006^ Orthopoxvirus species, not Variola virus^SCT and 59774002^Monkeypox virus^SCT) Monkeypox virus detected (59774002^Monkeypox virus^SCT) Not Detected (260415000^Not Detected^SCT) Invalid result (455371000124106^Invalid result^SCT or 125154007^Specimen unsatisfactory for evaluation^SCT) | 101399-4 | Monkeypox virus and Orthopoxvirus.non-variola DNA [Identifier] in Specimen by NAA with probe detection | 101398-6 | Monkeypox virus and Orthopoxvirus.non-variola DNA panel - Specimen | While mpox virus clade II is the only member of the Orthopoxvirus genus known to be circulating among humans in the US at this time, a positive result most likely represents the presence of mpox virus clade II. There is a small possibility that a positive result could represent the presence of mpox virus clade I. |  |  | TaqPath Monkeypox/Orthopox Virus DNA Kit_Life Technologies Corporation | EUA | ABI QuantStudio 7 Flex_Thermo Fisher | MNI | Monkeypox virus & Orthopoxvirus.non-variola DNA | Prid | Pt | XXX | Nom | Probe.amp.tar | 20230111 | 2.74-pre

## Links to Package Inserts (hidden)
EuaDate | EUA Number | Manufacturer | Test Kit Name | Test Type | Package Insert Link | Package Insert Filename
2022-09-07 | EUA220415 | Quest Diagnostics Nichols Institute | Quest Diagnostics Monkeypox Virus Qualitative Real-Time PCR | Mol | https://www.fda.gov/media/161457/download | EUA-Quest-MPXVpcr-EUAsum
2022-10-07 | EUA220434 | Abbott Molecular, Inc. | Alinity m MPXV | Mol | https://www.fda.gov/media/162193/download | EUA-Abbott-AmMPXV-ifu
2022-11-15 | EUA220459 | Roche Molecular Systems, Inc. | cobas MPXV for use on the cobas 6800/8800 Systems (cobas MPXV) | Mol | https://www.fda.gov/media/163215/download | EUA-Roche-cobasMPXV-ifu.pdf
2022-12-13 | EUA220461 | Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath Monkeypox/Orthopox Virus DNA Kit | Mol | https://www.fda.gov/media/163936/download | EUA-taqpathMPX-OPX-virus-DNA-ifu.pdf
2022-12-23 | EUA220453 | Becton, Dickinson & Company (BD) | VIASURE Monkeypox virus Real Time PCR Reagents for BD MAX System | Mol | https://www.fda.gov/media/164213/download | EUA-BD-ViasureMPXV-ifu.pdf
2023-01-10 | EUA220458 | DiaCarta, Inc. | QuantiVirus MPXV Test Kit | Mol | https://www.fda.gov/media/164469/download | EUA-DiaCarta-QVmpox-ifu.pdf
2023-02-10 | EUA220483 | Cepheid | Xpert Mpox | Mol | https://www.fda.gov/media/165321/download | EUA-Cepheid-XpertMpox-IFUlab.pdf
2023-02-10 | EUA220483 | Cepheid | Xpert Mpox | Mol | https://www.fda.gov/media/165322/download | EUA-Cepheid-XpertMpox-IFUpoc.pdf
2023-03-17 | EUA230004 | Cue Health, Inc. | Cue Mpox (Monkeypox) Molecular Test | Mol | https://www.fda.gov/media/166362/download | EUA-CueHealth-Mpox-IFU.pdf