## LIVD Publication
Publisher | APHL
LOINC Copyright | This material contains content from LOINC® (http://loinc.org). The LOINC table, LOINC codes, LOINC panels and form file, LOINC linguistic variants file, LOINC/RSNA Radiology Playbook, and LOINC/IEEE Medical Device Code Mapping Table are copyright © 1995-2022, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/terms-of-use.
LOCALIZATION | en-US
Document Identifier | Hantavirus_LIVD
Publication Date | 2026-08-21
Publisher URL | https://www.cdc.gov/csels/dls/livd-codes.html
Publisher Statement | This is the offically published LIVD file for Hantavirus disease testing, several are listed as research only. If you have questions about this mapping, please send email to informatics.support@aphl.org
SNOMED CT Copyright | This material includes SNOMED Clinical Terms® (SNOMED CT®) which is used by permission of the International Health Terminology Standards Development Organisation (IHTSDO). All rights reserved. SNOMED CT®, was originally created by The College of American Pathologists. “SNOMED” and “SNOMED CT” are registered trademarks of the IHTSDO.
Accessibility | If you need assistance to read the Excel spreadsheet presented here, please email informatics.support@aphl.org and use “Hantavirus LIVD Test Code Mapping” in the subject line.

## LOINC Mapping
Master Row ID | Lab Test ID | Status | Manufacturer | Model | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Test Performed LOINC Code | Test Performed LOINC Long Name | Test Ordered LOINC Code | Test Ordered LOINC Long Name | Vendor Comment | Vendor Analyte Code | Vendor Reference ID | Testkit Name ID | Testkit Name ID Type | Equipment UID | Equipment UID Type | Component | Property | Time | System | Scale | Method | Publication Version ID | LOINC Version ID | Authorized Settings | Test Type | Test Method | Notes
|  |  | Centers for Disease Control and Prevention (CDC) | New World Hantavirus Testing (IgG, IgM) | New World Hantavirus IgG | Serum (119364003^Serum specimen^SCT) | Positive (10828004^Positive^SCT) Negative (260385009^Negative^SCT) Equivocal (42425007^Equivocal^SCT) | 113095-4 | New World hantavirus IgG Ab [Presence] in Serum or Plasma by Immunoassay | 114479-9 | New World Hantavirus IgG and IgM Immunoassay panel - Serum or Plasma | Research Use Only CDC Pre-Approval Needed Trevor Shoemaker (470) 312-0094 spather@cdc.gov Amy Schuh (404) 639-1756 wuc2@cdc.gov |  | CDC-10620 | CDC_New World Hantavirus Testing-CLIA | MNT | BioTek PowerWave 340_BioTek | MNI | New World Hantavirus Ab.IgG | PrThr | Pt | Ser/Plas | OrdQn | IA |  | 2.82 |  |  |  | see weblink - need some follow up on results
|  |  | Centers for Disease Control and Prevention (CDC) | New World Hantavirus Testing (IgG, IgM) | New World Hantavirus IgM | Serum (119364003^Serum specimen^SCT) | Positive (10828004^Positive^SCT) Negative (260385009^Negative^SCT) Equivocal (42425007^Equivocal^SCT) | 113094-7 | New World hantavirus IgM Ab [Presence] in Serum or Plasma by Immunoassay | 114479-9 | New World Hantavirus IgG and IgM Immunoassay panel - Serum or Plasma | Research Use Only CDC Pre-Approval Needed Trevor Shoemaker (470) 312-0094 spather@cdc.gov Amy Schuh (404) 639-1756 wuc2@cdc.gov |  | CDC-10620 | CDC_New World Hantavirus Testing-CLIA | MNT | BioTek PowerWave 340_BioTek | MNI | New World Hantavirus Ab.IgM | PrThr | Pt | Ser/Plas | OrdQn | IA |  | 2.82 |  |  |  | see weblink - need some follow up on results
|  |  | Quest Diagnostics | Hantavirus Antibody (IgG, IgM) | Detection of IgM against Sin Nombre virus (SNV)(also detect but not differentiate several hantaviruses, including Andes virus) | Serum (119364003^Serum specimen^SCT) | Positive (10828004^Positive^SCT) Negative (260385009^Negative^SCT) | 113094-7 | New World hantavirus IgM Ab [Presence] in Serum or Plasma by Immunoassay | 114479-9 | New World Hantavirus IgG and IgM Immunoassay panel - Serum or Plasma | Research Use Only |  | Quest-37547 | Quest Diagnostics_Hantavirus Antibody (IgG, IgM) | MNT | FLEXMAP 3D System_Luminex Corp | MNI | New World Hantavirus Ab.IgM | PrThr | Pt | Ser/Plas | OrdQn | IA |  | 2.82 |  |  | Immunoassay | see weblink
|  |  | Quest Diagnostics | Hantavirus Antibody (IgG, IgM) | Detection of IgG against Sin Nombre virus (SNV)(also detect but not differentiate several hantaviruses, including Andes virus) | Serum (119364003^Serum specimen^SCT) | Positive (10828004^Positive^SCT) Negative (260385009^Negative^SCT) | 113095-4 | New World hantavirus IgG Ab [Presence] in Serum or Plasma by Immunoassay | 114479-9 | New World Hantavirus IgG and IgM Immunoassay panel - Serum or Plasma | Research Use Only |  | Quest-37547 | Hantavirus Antibody (IgG, IgM)_Quest Diagnostics | MNT | FLEXMAP 3D System_Luminex Corp | MNI | New World Hantavirus Ab.IgG | PrThr | Pt | Ser/Plas | OrdQn | IA |  | 2.82 |  |  | Immunoassay | see weblink
|  |  | NE PHL | Andes Virus RT-PCR | ANDV Viral RNA | Whole blood (258580003^Whole blood sample^SCT) | Negative for Andes Hantavirus RNA by RT PCR (260415000^Not detected^SCT) Positive for Andes Hantavirus RNA by RT PCR (260373001^Detected^SCT) Inconclusive (419984006 ^Inconclusive^SCT) | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | Research Use Only |  |  | Andes Virus RT-PCR_NE PHL | MNT | 10190302000222 | DII | Andes Virus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82 |  |  | RT-PCR | see pdf: HantaTest for example report and RE_ [External] RE_ Hantavirus PCR standard codes for reporting for results
|  |  | Centers for Disease Control and Prevention (CDC) | New World Hantavirus (HTNV_SA-S-136_B2M) Real-Time RT-PCR | New World hantavirus RNA | Whole blood (258580003^Whole blood sample^SCT) | Positive (10828004^Positive^SCT) Negative (260385009^Negative^SCT) Inconclusive (419984006^Inconclusive^SCT) | 113090-5 | New World Hantavirus RNA [Presence] in Specimen by NAA with probe detection | 113090-5 | New World Hantavirus RNA [Presence] in Specimen by NAA with probe detection | Research Use Only. Primer-probe set designed to detect South American New World hantaviruses. |  |  | New World Hantavirus (HTNV_SA-S-136_B2M) Real-Time RT-PCR_Centers for Disease Control and Prevention (CDC) | MNT | CFX Opus 96_BioRad | MNI | New World Hantavirus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82 |  |  | RT-PCR
|  |  | Euroimmun | Anti-Hanta Virus Pool 2 “America” ELISA IgG | Andes virus and Sin Nombre virus AB - IgG | Serum (119364003^Serum specimen^SCT) | <16 RU/ml: (not detected 260415000^Not detected^SCT) ≥16 to <22 RU/ml: borderline detected ((42425007^Equivocal^SCT?) ≥22 RU/ml: detected (260373001^Detected^SCT) | 113095-4 | New World Hantavirus IgG Ab [Presence] in Serum or Plasma by Immunoassay | 113095-4 | New World Hantavirus IgG Ab [Presence] in Serum or Plasma by Immunoassay | Research Use Only |  | Euroimmun (Cat. No. EI-278h-9601-2 G) | Euroimmun_Anti-Hanta Virus Pool 2 “America” ELISA IgG | MNT | (NA) | (NA) | New World Hantavirus Ab.IgG | PrThr | Pt | Ser/Plas | OrdQn | IA |  | 2.82 |  |  | Immunoassay | see pdf: EI_278h-2G_A_US_B01
|  |  | Euroimmun | Anti-Hanta Virus Pool 2 “America” ELISA IgM | Andes virus and Sin Nombre virus AB-IgM | Serum (119364003^Serum specimen^SCT) | Extinction of the control or sample/Extinction of calibrator= Ratio Not detected: Ratio <0.8 (260415000^Not detected^SCT) Borderline detected: Ratio ≥0.8 to <1.1 ((42425007^Equivocal^SCT?) Detected: Ratio ≥1.1 (260373001^Detected^SCT) | 113094-7 | New World Hantavirus IgM Ab [Presence] in Serum or Plasma by Immunoassay | 113094-7 | New World Hantavirus IgM Ab [Presence] in Serum or Plasma by Immunoassay | Research Use Only |  | Euroimmun (Cat. No. EI-278h-9601-2 M) | Euroimmun_Anti-Hanta Virus Pool 2 “America” ELISA IgG | MNT | (NA) | (NA) | New World Hantavirus Ab.IgM | PrThr | Pt | Ser/Plas | OrdQn | IA |  | 2.82 |  |  | Immunoassay | see pdf: EI_278h-2M_A_US_B01
|  |  | Euroimmun | IFA: Hantavirus Mosaic 3: America (IgG or IgM) | Andes virus and Sin Nombre virus AB-IgG | Serum (119364003^Serum specimen^SCT) Plasma (119361006^Plasma specimen^SCT) CSF (258450006^Cerebrospinal fluid specimen^SCT) | fluorescence pattern matches positive control: positive (10828004^Positive^SCT) no fluorescence: negative (260385009^Negative^SCT) | 114476-5 | New World Hantavirus IgG Ab [Presence] in Specimen by Immunofluorescence | 114477-3 | New World Hantavirus IgG and IgM ImmunoFluorescence Assay panel - Specimen | Research Use Only |  |  | Euroimmun_IFA: Hantavirus Mosaic 3: America (IgG or IgM) | MNT | (NA) | (NA) | New World Hantavirus Ab.IgG | PrThr | Pt | XXX | OrdQn |  |  | 2.82 |  |  | IFA | see pdf: FI_0002_A_US_B01
|  |  | Euroimmun | IFA: Hantavirus Mosaic 3: America (IgG or IgM) | Andes virus and Sin Nombre virus AB-IgG | Serum (119364003^Serum specimen^SCT) Plasma (119361006^Plasma specimen^SCT) CSF (258450006^Cerebrospinal fluid specimen^SCT) | Report the titer where fluorescence is just identifiable | 114474-0 | New World Hantavirus IgG Ab [Titer] in Specimen by Immunofluorescence | 114477-3 | New World Hantavirus IgG and IgM ImmunoFluorescence Assay panel - Specimen | Research Use Only |  |  | Euroimmun_IFA: Hantavirus Mosaic 3: America (IgG or IgM) | MNT | (NA) | (NA) | New World Hantavirus Ab.IgG | Titer | Pt | XXX | Qn |  |  | 2.82 |  |  | IFA | see pdf: FI_0002_A_US_B01
|  |  | Euroimmun | IFA: Hantavirus Mosaic 3: America (IgG or IgM) | Andes virus and Sin Nombre virus AB-IgM | Serum (119364003^Serum specimen^SCT) Plasma (119361006^Plasma specimen^SCT) CSF (258450006^Cerebrospinal fluid specimen^SCT) | fluorescence pattern matches positive control: positive (10828004^Positive^SCT) no fluorescence: negative (260385009^Negative^SCT) | 114475-7 | New World Hantavirus IgM Ab [Presence] in Specimen by Immunofluorescence | 114477-3 | New World Hantavirus IgG and IgM ImmunoFluorescence Assay panel - Specimen | Research Use Only |  |  | Euroimmun_IFA: Hantavirus Mosaic 3: America (IgG or IgM) | MNT | (NA) | (NA) | New World Hantavirus Ab.IgM | PrThr | Pt | XXX | OrdQn |  |  | 2.82 |  |  | IFA | see pdf: FI_0002_A_US_B01
|  |  | Euroimmun | IFA: Hantavirus Mosaic 3: America (IgG or IgM) | Andes virus and Sin Nombre virus AB-IgM | Serum (119364003^Serum specimen^SCT) Plasma (119361006^Plasma specimen^SCT) CSF (258450006^Cerebrospinal fluid specimen^SCT) | Report the titer where fluorescence is just identifiable | 114473-2 | New World Hantavirus IgM Ab [Titer] in Specimen by Immunofluorescence | 114477-3 | New World Hantavirus IgG and IgM ImmunoFluorescence Assay panel - Specimen | Research Use Only |  |  | Euroimmun_IFA: Hantavirus Mosaic 3: America (IgG or IgM) | MNT | (NA) | (NA) | New World Hantavirus Ab.IgM | Titer | Pt | XXX | Qn |  |  | 2.82 |  |  | IFA | see pdf: FI_0002_A_US_B01
|  |  | Focus Diagnostics | Hantavirus IgG DxSelect | Seoul (SEO), Hantaan (HTN), Puumala (PUU), Dobrava (DOB), SNV AB-IgG | Serum (119364003^Serum specimen^SCT) | specimen OD value/mean Cut-off Calibrator absorbance value = Index Value >1.10 Positive. An index value of > 1.10 is presumptive positive for the presence of IgG antibodies to Hantavirus (720735008^Presumptive positive^SCT or 10828004^Positive^SCT) >=0.9 to <= 1.10: Equivocal. An index value of >=0.9 but <=1.10 is considered an equivcal result. These samples should be retested. If, on retesting the result remains equivocal, a second sample should be drawn several weeks later and tested to identify a rise in IgG antibody titer. If the second sample is either negative or equivocal, report as negative. Alternatively the specimen may be tested using a different methodolgy such as IFA or Western Blot.(42425007^Equivocal^SCT) <0.90: Negative. An index value of <0.90 indicates no IgG antibodies to Hantavirus were detected. (260385009^Negative^SCT) | 26620-5 | Hantavirus IgG Ab [Presence] in Serum | 26620-5 | Hantavirus IgG Ab [Presence] in Serum | not for distribution in the US - Research Use Only |  |  | Hantavirus IgG DxSelect_Focus Diagnostics | MNT | (NA) | (NA) | Hantavirus Ab. IgG | PrThr | Pt | Ser | Ord |  |  | 2.82 |  |  | ELISA
|  |  | Focus Diagnostics | Hantavirus IgM DxSelect | Seoul (SEO), Hantaan (HTN), Puumala (PUU), Dobrava (DOB), SNV AB-IgM | Serum (119364003^Serum specimen^SCT) | specimen OD value/mean Cut-off Calibrator absorbance value = Index Value >1.10 Positive. Patient specimens, which exhibit an index value of > 1.10 indicate the presence of IgM antibodies to Hantavirus. This is indicative of an early response to infection. (10828004^Positive^SCT) >=0.9 to <= 1.10: Equivocal. Patient specimens which exhibit an index value of ≥ 0.90 but ≤ 1.10 are considered doubtful or equivocal results. All equivoval results should be retested. If, on retesting, the first sample remains equivocal, a second sample should be drawn several weeks later to identify a rise in IgM antibody titer. If the second sample is either negative or equivocal, this indicates no IgM antibody to Hantavirus are detectable.(42425007^Equivocal^SCT) <0.90: Negative. Patient specimens which exhibit an index value of < 0.90 indicate no detectable IgM antibodies to Hantavirus. | 32131-5 | Hantavirus IgM Ab [Presence] in Serum | 32131-5 | Hantavirus IgM Ab [Presence] in Serum | not for distribution in the US - Research Use Only |  |  | Hantavirus IgM DxSelect_Focus Diagnostics | MNT | (NA) | (NA) | Hantavirus Ab. IgM | PrThr | Pt | Ser | Ord |  |  | 2.82 |  |  |  | see pdf: Hantavirus IgM DxSelectTM (EL1600M) IFU
|  |  | Gold Standard Diagnostics | NovaLisa Hantavirus IgG | Hantavirus IgG | Serum (119364003^Serum specimen^SCT) Plasma (119361006^Plasma specimen^SCT) | Sample (mean) absorbance value x 10 / mean absorbance value of the Cut-off Control determinations = [NovaTec Units = NTU] Positive: > 11 NTU: Antibodies against the pathogen are present. There has been a contact with the antigen (pathogen resp. vaccine). (10828004^Positive^SCT) Equivocal: 9-11 NU: Antibodies against the pathogen could not be detected clearly. It is recommended to repeat the test with a fresh sample in 2 to 4 weeks. (42425007^Equivocal^SCT) Negative: <9 NTU: The sample contains no antibodies against the pathogen. A previous contact with the antigen (pathogen resp. vaccine) is unlikely. (260385009^Negative^SCT) | 26620-5 | Hantavirus IgG Ab [Presence] in Serum | 26620-5 | Hantavirus IgG Ab [Presence] in Serum | Research Use Only |  |  | Nova Lisa Hantavirus IgG_Gold Standard Diagnostics | MNT | (NA) | (NA) | Hantavirus Ab.IgM | PrThr | Pt | Ser | Ord |  |  | 2.82 |  |  | ELISA | see pdf: HANG0670_IFU_rev01_fromLot_041N
|  |  | Gold Standard Diagnostics | NovaLisa Hantavirus IgM | Hantavirus IgM | Serum (119364003^Serum specimen^SCT) Plasma (119361006^Plasma specimen^SCT) | Sample (mean) absorbance value x 10 / mean absorbance value of the Cut-off Control determinations = [NovaTec Units = NTU] Positive: > 11 NTU: Antibodies against the pathogen are present. There has been a contact with the antigen (pathogen resp. vaccine). (10828004^Positive^SCT) Equivocal: 9-11 NU: Antibodies against the pathogen could not be detected clearly. It is recommended to repeat the test with a fresh sample in 2 to 4 weeks. (42425007^Equivocal^SCT) Negative: <9 NTU: The sample contains no antibodies against the pathogen. A previous contact with the antigen (pathogen resp. vaccine) is unlikely. (260385009^Negative^SCT) | 32131-5 | Hantavirus IgM Ab [Presence] in Serum | 32131-5 | Hantavirus IgM Ab [Presence] in Serum | Research Use Only |  |  | Nova Lisa Hantavirus IgM_Gold Standard Diagnostics | MNT | (NA) | (NA) | Hantavirus Ab.IgM | PrThr | Pt | Ser | Ord |  |  | 2.82 |  |  | ELISA | see pdf: HANM0670_IFU_rev01_fromLot_041N
|  |  | ThermoFisher | Andes virus RT-PCR-AP7D4WY | Andes virus | (NA) | (NA) | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | Sequence Optimized Design Aligned to current 2026 Andes Virus Strain Recommended for Current Andes Virus Response (May 2026) Research Use Only https://www.thermofisher.com/blog/behindthebench/andes-virus-rt-qpcr-detection-workflow/ Results and Specimens will depend on the laboratory that has implemented them. |  |  | (NA) | (NA) | QuantStudio - need to split for the specific subtypes: ABI QuantStudio 5 Real-Time PCR_Thermo Fisher ABI QuantStudio 5 Dx_Thermo Fisher ABI QuantStudio 3D Digital PCR_Thermo Fisher ABI QuantStudio 3 Real-Time PCR_Thermo Fisher ABI QuantStudio 12K Flex_Thermo Fisher ABI QuantStudio 6 Flex_Thermo Fisher ABI QuantStudio 7 Flex_Thermo Fisher ABI QuantStudio 7 Pro_Thermo Fisher ABI QuantStudio Dx_Thermo Fisher ABI QuantStudio 6 Pro_Thermo Fisher | MNI | Andes Hantavirus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82
|  |  | ThermoFisher | Andes virus RT-PCR-AP7D4WY | Andes virus | (NA) | (NA) | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | Sequence Optimized Design Aligned to current 2026 Andes Virus Strain Recommended for Current Andes Virus Response (May 2026) Research Use Only https://www.thermofisher.com/blog/behindthebench/andes-virus-rt-qpcr-detection-workflow/ Results and Specimens will depend on the laboratory that has implemented them. |  |  | (NA) | (NA) | ABI StepOne Real-Time PCR_Thermo Fisher | MNI | Andes Hantavirus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82
|  |  | ThermoFisher | Andes virus RT-PCR-AP7D4WY | Andes virus | (NA) | (NA) | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | Sequence Optimized Design Aligned to current 2026 Andes Virus Strain Recommended for Current Andes Virus Response (May 2026) Research Use Only https://www.thermofisher.com/blog/behindthebench/andes-virus-rt-qpcr-detection-workflow/ |  |  | (NA) | (NA) | ABI ViiA 7 PCR System_Thermo Fisher | MNI | Andes Hantavirus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82
|  |  | ThermoFisher | Andes virus RT-PCR-AP7D4WY | Andes virus | (NA) | (NA) | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | Sequence Optimized Design Aligned to current 2026 Andes Virus Strain Recommended for Current Andes Virus Response (May 2026) Research Use Only https://www.thermofisher.com/blog/behindthebench/andes-virus-rt-qpcr-detection-workflow/ Results and Specimens will depend on the laboratory that has implemented them. |  |  | (NA) | (NA) | Applied Biosystems™ 7500 platform - choices are: ABI 7500 FAST Dx Real-Time PCR_Thermo Fisher ABI 7500 FAST Real-Time PCR_Thermo Fisher ABI 7500 Real-Time PCR_Thermo Fisher | MNI | Andes Hantavirus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82
|  |  | ThermoFisher | Andes virus RT-PCR APU7ANW | RUO Primer/Probe Set | (NA) | (NA) | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | Reference-based design offering broad strain coverage and maintained sensitivity despite minor mismatch. It is a valuable option for broader hantavirus surveillance and continuity of testing workflows. Research Use Only https://www.thermofisher.com/blog/behindthebench/andes-virus-rt-qpcr-detection-workflow/ Results and Specimens will depend on the laboratory that has implemented them. |  |  | (NA) | (NA) | QuantStudio - need to split for the specific subtypes: ABI QuantStudio 5 Real-Time PCR_Thermo Fisher ABI QuantStudio 5 Dx_Thermo Fisher ABI QuantStudio 3D Digital PCR_Thermo Fisher ABI QuantStudio 3 Real-Time PCR_Thermo Fisher ABI QuantStudio 12K Flex_Thermo Fisher ABI QuantStudio 6 Flex_Thermo Fisher ABI QuantStudio 7 Flex_Thermo Fisher ABI QuantStudio 7 Pro_Thermo Fisher ABI QuantStudio Dx_Thermo Fisher ABI QuantStudio 6 Pro_Thermo Fisher | MNI | Andes Hantavirus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82
|  |  | ThermoFisher | Andes virus RT-PCR APU7ANW | RUO Primer/Probe Set | (NA) | (NA) | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | Reference-based design offering broad strain coverage and maintained sensitivity despite minor mismatch. It is a valuable option for broader hantavirus surveillance and continuity of testing workflows. Research Use Only https://www.thermofisher.com/blog/behindthebench/andes-virus-rt-qpcr-detection-workflow/ Results and Specimens will depend on the laboratory that has implemented them. |  |  | (NA) | (NA) | ABI StepOne Real-Time PCR_Thermo Fisher | MNI | Andes Hantavirus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82
|  |  | ThermoFisher | Andes virus RT-PCR APU7ANW | RUO Primer/Probe Set | (NA) | (NA) | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | Reference-based design offering broad strain coverage and maintained sensitivity despite minor mismatch. It is a valuable option for broader hantavirus surveillance and continuity of testing workflows. Research Use Only https://www.thermofisher.com/blog/behindthebench/andes-virus-rt-qpcr-detection-workflow/ Results and Specimens will depend on the laboratory that has implemented them. |  |  | (NA) | (NA) | ABI ViiA 7 PCR System_Thermo Fisher | MNI | Andes Hantavirus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82
|  |  | ThermoFisher | Andes virus RT-PCR APU7ANW | RUO Primer/Probe Set | (NA) | (NA) | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | 114478-1 | Andes Virus RNA [Presence] in Specimen by NAA with probe detection | Reference-based design offering broad strain coverage and maintained sensitivity despite minor mismatch. It is a valuable option for broader hantavirus surveillance and continuity of testing workflows. Research Use Only https://www.thermofisher.com/blog/behindthebench/andes-virus-rt-qpcr-detection-workflow/ Results and Specimens will depend on the laboratory that has implemented them. |  |  | (NA) | (NA) | Applied Biosystems™ 7500 platform - choices are: ABI 7500 FAST Dx Real-Time PCR_Thermo Fisher ABI 7500 FAST Real-Time PCR_Thermo Fisher ABI 7500 Real-Time PCR_Thermo Fisher | MNI | Andes Hantavirus RNA | PrThr | Pt | XXX | Ord | Probe.amp.tar |  | 2.82
|  |  | EuroFins Companies | https://clpmag.com/diagnostic-technologies/molecular-diagnostics/eurofins-develops-hantavirus-diagnostic-tests-andes-strain-outbreak/

## LOINC Mapping Columns
LIVD Spreadsheet Guidance
· Manufacturer – the name of the Instrument manufacturer or Testkit manufacturer
· Model – the name of the Instrument or the Testkit
· Vendor Analyte Name – the human-readable text the vendor uses to identify the analyte. The text might be displayed by the instrument or could be used within an assay insert or instructions for use.
· Vendor Specimen Description – the human-readable text that provides information about the specimen used for the test, such as “Serum or Plasma.” The field documents the vendor description of the specimen used for the IVD test. The field may contain multiple specimen types. For this catalog, the SNOMED-CT mapping for each Specimen is provided in parenthesis
o Serum (119364003^Serum specimen^SCT)
o Plasma (119361006^Plasma specimen^SCT)
· Vendor Result Description – the human-readable text that provides information about the result that is produced.
o For non-numeric results, this field contains the possible result values, along with the SNOMED-CT mapping
§ Positive (10828004^Positive^SCT)
§ Negative (260385009^Negative^SCT)
o For numeric results and associated units of measure this field describes the result by including a representative unit of measure, preferably represented as a UCUM unit.
· Test Performed LOINC® Code – the appropriate LOINC code for the Test Performed mapping
· Test Performed LOINC Long Name – the long name for the Test Performed LOINC Code
· Test Ordered LOINC Code – the appropriate LOINC code for the Test Ordered mapping
· Test Ordered LOINC Long Name– the long name for the Test Ordered LOINC Order
· Vendor Comment – human-readable text for clarification, such as “This is a STAT (prioritized) version of the test”
· Testkit Name ID – the Testkit Device Identifier if known, otherwise the concatenation of the <Diagnostic (Letter of Authorization)>_<Manufacturer> fields from the FDA EUA Website
· Testkit Name ID Type – GTIN when the Device Identifier is known, otherwise EUA when the Emergency Use Authorization identifiers are used
· Vendor Analyte Code – one of two possible values
o For an automated test, it contains Vendor Transmission Code used by the instrument when sending the test result to a health information system, such as an LIS.
o For a manual test, it is the Vendor Analyte Identifier for the test result produced by the Test Kit.
· Vendor Reference ID – a vendor identifier, such as an identifier that can be used to locate the associated assay insert published by the vendor. This attribute may contain the material number used to order the product from the manufacturer.
· Equipment UID – when available, the Device Identifier of the instrument. If not known, then the concatenation of the Model and Manufacturer, <Model>_<Manufacturer>
· Equipment UID Type – GTIN when the Device Identifier is provided, otherwise MNI when model and manufacturer are provided
· Component – the LOINC Component/analyte
· Property – the LOINC Kind of Property
· Time – the LOINC Time Aspect
· System – The LOINC System (Sample)
· Scale – the LOINC Type of Scale
· Method – the LOINC Type of Method
· Publication Version ID – human-readable information used to differentiate mapping publication versions
· LOINC Version ID – the version of LOINC used to establish the LOINC mapping

## Instruments
Equipment ID | Equipment Name | Equipment Name Type | Equipment UID | Equipment UID Type | Equipment Comment | Equipment Sort
1000 | (Test kit device) | (NA) |  |  | This test is run on the rapid test kit device, not a separate instrument. | 1005
1001 | ABI QuantStudio 5 Real-Time PCR_Thermo Fisher | MNI | 10190302015592 | DII |  | 2150
1002 | ABI 7500 FAST Dx Real-Time PCR_Thermo Fisher | MNI | 10190302000222 | DII |  | 2040
1003 | cobas Liat Analyzer_Roche | MNI |  |  |  | 2680
1004 | VITROS XT 7600_Ortho-Clinical | MNI |  |  |  | 3920
1005 | VITROS 5600_Ortho-Clinical | MNI |  |  |  | 3890
1006 | VITROS 3600_Ortho-Clinical | MNI |  |  |  | 3880
1007 | VITROS ECiQ_Ortho-Clinical | MNI |  |  |  | 3910
1008 | VITROS ECi_Ortho-Clinical | MNI |  |  |  | 3900
1009 | T2Dx Instrument_T2 Biosystems | MNI |  |  |  | 3720
1010 | Synergy NEO2 Hybrid Multi-Mode Reader_BioTek | MNI |  |  |  | 3700
1011 | Sofia Instrument_Quidel | MNI |  |  |  | 3650
1012 | Sofia 2 Instrument_Quidel | MNI |  |  |  | 3640
1013 | SLAN-96P_Shanghai Hongshi | MNI |  |  |  | 3630
1014 | Rotor-Gene Q 5plex_QIAGEN GmbH | MNI |  |  |  | 3530
1015 | Real Time Digital PCR Instrument_Gnomegen | MNI |  |  |  | 3500
1016 | QX200 Droplet Digital PCR System_BioRad | MNI |  |  |  | 3480
1017 | Q-View Imager Pro_Quansys | MNI |  |  |  | 3470
1018 | QIAstat-Dx Analyzer 1.0_QIAGEN GmbH | MNI |  |  |  | 3420
1019 | PowerGene 9600 Plus Real-time PCR_Atila | MNI |  |  |  | 3390
1020 | Platelia system_BioRad | MNI |  |  |  | 3370
1021 | NextSeq 550 Sequencing System_Illumina | MNI |  |  |  | 3310
1022 | NextSeq 500 Sequencing System_Illumina | MNI |  |  |  | 3300
1023 | NeuMoDx 96 Molecular System_NeuMoDx | MNI |  |  |  | 3290
1024 | NeuMoDx 288 Molecular System_NeuMoDx | MNI |  |  |  | 3280
1025 | Mic PCR cycler_Bio Molecular Systems | MNI |  |  |  | 3230
1026 | m2000 RealTime System_Abbott | MNI | 00884999031814 | DII |  | 3180
1027 | Luminex ARIES System_Luminex Corp | MNI |  |  |  | 3150
1028 | Luminex ARIES M1 System_Luminex Corp | MNI |  |  |  | 3140
1029 | LightCycler 96 Instrument_Roche | MNI |  |  |  | 3120
1030 | LIAISON MDX_DiaSorin | MNI |  |  |  | 3070
1031 | NovaSeq 6000 Sequencing System_Illumina | MNI |  |  |  | 3330
1032 | ID NOW Instrument_Abbott | MNI | 00811877010616 | DII |  | 3030
1033 | GenMark ePlex instrument_GenMarkDx | MNI |  |  |  | 3000
1034 | GeneXpert Xpress System_Cepheid | MNI |  |  |  | 2980
1035 | GeneXpert Infinity System_Cepheid | MNI |  |  |  | 2960
1036 | GeneXpert Dx System_Cepheid | MNI |  |  |  | 2950
1037 | Franklin Real-Time PCR Thermocycler_Biomeme | MNI |  |  |  | 2930
1038 | FLEXMAP dual laser cytometer_Luminex Corp | MNI |  |  |  | 2920
1039 | FilmArray Torch System_BioFire | MNI |  |  |  | 2890
1040 | FilmArray 2.0 System_BioFire | MNI |  |  |  | 2880
1041 | Encompass MDx Workstation_Rheonix | MNI |  |  |  | 2860
1042 | DropX-2000 digital PCR system_PreciGenome | MNI |  |  |  | 2770
1043 | Dimension Vista System_Siemens | MNI |  |  |  | 2760
1044 | Dimension EXL with LOCI Module_Siemens | MNI |  |  |  | 2750
1045 | Dimension EXL 200_Siemens | MNI |  |  |  | 2740
1046 | Cue Health Monitoring System_Cue Health | MNI |  |  |  | 2720
1047 | CoDx Box_Co-Diagnostics | MNI |  |  |  | 2710
1048 | cobas 8000 modular analyzer_Roche | MNI |  |  |  | 2700
1049 | cobas e 801 analyzer_Roche | MNI | 4015630946198 | DII | Roche calls the Equipment UID type 'GTIN' | 2670
1050 | cobas e 602 analyzer_Roche | MNI | 4015630929764 | DII | Roche calls the Equipment UID type 'GTIN' | 2660
1051 | cobas e 601 analyzer_Roche | MNI | 4015630924714 | DII | Roche calls the Equipment UID type 'GTIN' | 2650
1053 | CFX96 Touch Deep Well Real-Time PCR_BioRad | MNI |  |  |  | 2560
1054 | CFX96 Real-Time PCR System_BioRad | MNI |  |  |  | 2550
1055 | BioTek 800 TS Absorbance Reader_BioTek | MNI |  |  |  | 2450
1056 | Architect i2000SR_Abbott | MNI | 00380740006235 | DII |  | 2350
1057 | Architect i1000SR_Abbott | MNI | 00380740001537 | DII |  | 2340
1058 | Alinity m_Abbott | MNI | 00884999048034 | DII |  | 2330
1059 | Alinity i_Abbott | MNI | 00380740137366 | DII |  | 2320
1060 | ABI QuantStudio 5 Dx_Thermo Fisher | MNI |  |  |  | 2140
1061 | ABI QuantStudio 3D Digital PCR_Thermo Fisher | MNI |  |  |  | 2130
1062 | ABI QuantStudio 3 Real-Time PCR_Thermo Fisher | MNI |  |  |  | 2120
1063 | ABI PRISM 7000 Detection System_Thermo Fisher | MNI |  |  |  | 2100
1064 | ABI GeneAmp PCR System 9700_Thermo Fisher | MNI |  |  |  | 2080
1065 | ABI 3730xl DNA Analyzer_Thermo Fisher | MNI |  |  |  | 2030
1066 | ABI 3500xL Genetic Analyzer_Thermo Fisher | MNI |  |  |  | 2020
1067 | ABI QuantStudio 12K Flex_Thermo Fisher | MNI |  |  |  | 2110
1068 | ABI Veriti Dx Thermal Cycler_Thermo Fisher | MNI |  |  |  | 2230
1069 | ADVIA Centaur XP system_Siemens | MNI |  |  |  | 2300
1070 | ADVIA Centaur XPT system_Siemens | MNI |  |  |  | 2310
1071 | Aria Mx_Agilent Technologies | MNI |  |  |  | 2360
1072 | Stratagene Mx3005P_Agilent Technologies | MNI |  |  |  | 3690
1073 | qTower3 G_Analytik Jena GmbH | MNI |  |  |  | 3440
1074 | ABI 7500 FAST Real-Time PCR_Thermo Fisher | MNI |  |  |  | 2050
1075 | ABI 7500 Real-Time PCR_Thermo Fisher | MNI |  |  |  | 2060
1076 | ABI 7900HT Fast Real-Time PCR_Thermo Fisher | MNI |  |  |  | 2070
1077 | ABI MiniAmp Thermal Cycler_Thermo Fisher | MNI |  |  |  | 2090
1078 | ABI QuantStudio 6 Flex_Thermo Fisher | MNI |  |  |  | 2160
1079 | ABI QuantStudio 7 Flex_Thermo Fisher | MNI |  |  |  | 2180
1080 | ABI QuantStudio 7 Pro_Thermo Fisher | MNI |  |  |  | 2190
1081 | ABI QuantStudio Dx_Thermo Fisher | MNI |  |  |  | 2200
1082 | ABI Veriti Thermal Cycler_Thermo Fisher | MNI |  |  |  | 2240
1083 | ABI ViiA 7 PCR System_Thermo Fisher | MNI |  |  |  | 2250
1084 | Atellica IM Analyzer_Siemens | MNI |  |  |  | 2370
1085 | BD MAX System_Becton Dickinson | MNI | 00382904419165 | DII |  | 2380
1086 | T5005-3205_Benchmark Scientific | MNI |  |  |  | 3730
1087 | BioCode MDx-3000_Applied BioCode | MNI |  |  |  | 2400
1088 | Biomark HD system_Standard BioTools Inc. | MNI |  |  |  | 2420
1089 | Biomeme Franklin three9 Thermocycler_Biomeme | MNI |  |  |  | 2430
1090 | T100 Thermal Cycler_BioRad | MNI |  |  |  | 3710
1091 | CFX Connect Real-Time PCR System_BioRad | MNI |  |  |  | 2480
1092 | CFX96 DX Real-Time PCR System_BioRad | MNI |  |  |  | 2540
1093 | CFX96 Touch Real-Time PCR System_BioRad | MNI |  |  |  | 2570
1094 | cobas 6800 System_Roche | MNI |  |  |  | 2600
1095 | cobas 8800 System_Roche | MNI |  |  |  | 2610
1096 | cobas z 480 Instrument_Roche | MNI |  |  |  | 2690
1097 | CFX384 Real-Time PCR_BioRad | MNI |  |  |  | 2510
1098 | MD-Bio Heater_Detectachem | MNI |  |  |  | 3220
1099 | DTPrime5_DNA Technologie | MNI |  |  |  | 2780
1100 | DZ-lite 3000 Plus Analyzer_Diazyme | MNI |  |  |  | 2820
1101 | EdvoCycler 2_Edvotek | MNI |  |  |  | 2840
1102 | EdvoCycler Jr_Edvotek | MNI |  |  |  | 2850
1103 | FLEXMAP 3D System_Luminex Corp | MNI |  |  |  | 2910
1104 | FLEXMAP 3D Sys(MFIdivider on)_Luminex Corp | MNI |  |  |  | 2900
1105 | Genie HT instrument_OptiGene | MNI |  |  |  | 2990
1106 | Illumina NovaSeq 6000 SP_Illumina | MNI |  |  |  | 3040
1107 | LightCycler 480 Instrument_Roche | MNI |  |  |  | 3110
1108 | LightCycler 480 Instrument II_Roche | MNI |  |  |  | 3100
1109 | Luminex 200 System_Luminex Corp | MNI |  |  |  | 3130
1110 | LumiraDx Platform_LumiraDx | MNI |  |  |  | 3170
1111 | MAGLUMI 2000 series analyzer_Shenzhen | MNI |  |  |  | 3190
1112 | Luminex MAGPIX System_Luminex Corp | MNI |  |  |  | 3160
1113 | MassARRAY System_Agena Bioscience | MNI |  |  |  | 3200
1114 | MINI VIDAS_bioMérieux | MNI |  |  |  | 3240
1115 | MS Fast Analyzer_Sophonix | MNI |  |  |  | 3270
1116 | Panther Fusion System_Hologic | MNI |  |  |  | 3340
1117 | Panther System_Hologic | MNI |  |  |  | 3350
1118 | Rotor-Gene Q_QIAGEN GmbH | MNI |  |  |  | 3550
1119 | Rapid COVID-19 IgM/IgG Combo Kit_Megna Health | MNI |  |  |  | 3490
1120 | Rotor-Gene Q 5plex HRM_QIAGEN GmbH | MNI |  |  |  | 3520
1121 | Sentosa SA201 Real-Time PCR_Vela Diagnostics | MNI |  |  |  | 3600
1122 | Techne 5Prime/02_Techne | MNI |  |  |  | 3750
1123 | Thermo Fisher QS1_Thermo Fisher | MNI |  |  |  | 3760
1124 | Veriti 96 Fast Thermal Cycler_Thermo Fisher | MNI |  |  |  | 3850
1125 | VIDAS 3_bioMérieux | MNI |  |  |  | 3860
1126 | VIDAS_bioMérieux | MNI |  |  |  | 3870
1127 | MosaIQ 125_Quotient | MNI |  |  |  | 3260
1128 | ABI QuantStudio 6 Pro_Thermo Fisher | MNI |  |  |  | 2170
1129 | GridION nanopore sequencer_Oxford Nanopore | MNI |  |  |  | 3010
1130 | Clear Dx system_Clear Labs | MNI |  |  |  | 2580
1131 | CFX384 Touch Real-Time PCR_BioRad | MNI |  |  |  | 2520
1132 | ABI StepOne Real-Time PCR_Thermo Fisher | MNI |  |  |  | 2210
1133 | ABI StepOnePlus Real-Time PCR_Thermo Fisher | MNI |  |  |  | 2220
1134 | Rotor-Gene Q MDx_QIAGEN GmbH | MNI |  |  |  | 3540
1135 | LIAISON XL Analyzer_DiaSorin | MNI |  |  |  | 3080
1136 | FREND System_NanoEntek | MNI |  |  |  | 2940
1137 | SensoSpot Microarray Scanner_Sensovation | MNI |  |  |  | 3590
1138 | Access Immunoassay System_BeckmanCoulter | MNI |  |  |  | 2270
1139 | Access 2 Immunoassay System_BeckmanCoulter | MNI |  |  |  | 2260
1140 | Maverick Diagnostic System_Genalyte | MNI |  |  |  | 3210
1141 | Dynex Agility System_Dynex Technologies | MNI |  |  |  | 2790
1142 | MiSeq System_Illumina | MNI |  |  |  | 3250
1143 | Sampinute Analyzer_Celltrion | MNI |  |  |  | 3570
1144 | NextSeq 550Dx Sequencing System_Illumina | MNI |  |  |  | 3320
1145 | GeneXpert Omni System_Cepheid | MNI |  |  |  | 2970
1146 | cobas e 411 analyzer_Roche | MNI | 4015630924721 | DII | Roche calls the Equipment UID type 'GTIN' | 2640
1147 | cobas e 402 analyzer_Roche | MNI | 7613336165300 | DII | Roche calls the Equipment UID type 'GTIN' | 2620
1148 | Clip Analyzer_Luminostics | MNI |  |  |  | 2590
1149 | Solana Instrument_Quidel | MNI |  |  | Solana is a bench top instrument that combines Quidel's proprietary helicase-dependent amplification (HDA) with fluorescence detection | 3660
1150 | Simoa HD-X Analyzer_Quanterix | MNI |  |  |  | 3620
1151 | Solas 8_MatMaCorp | MNI |  |  | The Solas 8 is a portable, four channel fluorescence detection system | 3670
1152 | Phadia 250 instrument_Phadia AB | MNI |  |  |  | 3360
1153 | CFX Opus 96_BioRad | MNI |  |  |  | 2500
1154 | CFX Opus 384_BioRad | MNI |  |  |  | 2490
1155 | Procleix Panther System_Grifols | MNI |  |  |  | 3400
1156 | CFX96 DX Real-Time PCR System ORM_BioRad | MNI |  |  | ORM is Optical Reading Module | 2530
1157 | C1000 Dx Thermal Cycler_BioRad | MNI |  |  |  | 2470
1158 | iSYS Multi-Discipline Automated System_IDS | MNI |  |  | IDS is Immunodiagnostic Systems | 3060
1159 | BD Veritor Plus System_Becton Dickinson | MNI |  |  |  | 2390
1160 | Silaris Dock_Sekisui Diagnostics | MNI |  |  |  | 3610
1161 | Accula Dock_Mesa Biotech | MNI |  |  |  | 2280
1162 | UniCel DxC 600i Synchron Access_BeckmanCoulter | MNI |  |  |  | 3770
1163 | UniCel DxC 660i Synchron Access_BeckmanCoulter | MNI |  |  |  | 3780
1164 | UniCel DxC 680i Synchron Access_BeckmanCoulter | MNI |  |  |  | 3790
1165 | UniCel DxC 860i Synchron Access_BeckmanCoulter | MNI |  |  |  | 3800
1166 | UniCel DxC 880i Synchron Access_BeckmanCoulter | MNI |  |  |  | 3810
1167 | UniCel DxI 600 Access System_BeckmanCoulter | MNI |  |  |  | 3820
1168 | UniCel DxI 800 Access System_BeckmanCoulter | MNI |  |  |  | 3830
1169 | Qorvo Omnia Instrument_Qorvo | MNI |  |  |  | 3430
1170 | IntelliQube qPCR system_Biosearch | MNI |  |  |  | 3050
1171 | Hydrocycler2_Biosearch | MNI |  |  |  | 3020
1172 | BIO-FLASH Instrument_Inova | MNI |  |  |  | 2410
1173 | SensoSpot Microarray Analyzer_Sensovation AG | MNI |  |  |  | 3580
1174 | qTower3_Analytik Jena GmbH | MNI |  |  |  | 3450
1176 | Dynex DSX System_Dynex Technologies | MNI |  |  |  | 2810
1177 | Dynex DS2 System_Dynex Technologies | MNI |  |  |  | 2800
1178 | ADVIA Centaur CP system_Siemens | MNI |  |  |  | 2290
1179 | ABI 3500xL Dx Genetic Analyzer_Thermo Fisher | MNI |  |  |  | 2010
1180 | BioPlex 2200 Instrument_BioRad | MNI |  |  |  | 2440
1227 | Q-View Imager LS_Quansys | MNI |  |  |  | 3460
1229 | QIAreach eHub_QIAGEN GmbH | MNI |  |  |  | 3410
1230 | a microplate reader_NA | MNI |  |  | Some Package Inserts just indicate that the test is run on "a microplate reader" | 2004
1231 | a luminometer_NA | MNI |  |  | Some Package Inserts just indicate that the test is run on "a luminometer" | 2001
1234 | Liberty16 mobile real time PCR_Ubiquitome | MNI |  |  |  | 3090
1237 | EUROLabWorkstation ELISA_EUROIMMUN | MNI |  |  |  | 2870
1238 | Sprinter XL_EUROIMMUN | MNI |  |  |  | 3680
1241 | an ELISA spectrophotometer_NA | MNI |  |  | Some Package Inserts just indicate that the test is run on "an ELISA reader" or "an ELISA spectrophotometer" | 2007
1244 | Talis One instrument_Talis Biomedical | MNI |  |  |  | 3740
1245 | Revogene instrument_Meridian | MNI |  |  |  | 3510
1252 | Bravo BenchCel Workstation_Agilent | MNI |  |  |  | 2460
1253 | UOL COVID-19 Instrument_Uh Oh Labs | MNI |  |  |  | 3840
1255 | DASH Analyzer_Minute Molecular Diagnostics | MNI |  |  |  | 2730
1257 | Eco 48 Real-Time qPCR System_PCRmax | MNI |  |  |  | 2830
1260 | PNY-1000 instrument_InspectIR | MNI |  |  |  | 3380
1261 | Sal6830 Point of Care PCR System_MicroGEM | MNI |  |  |  | 3560
1264 | Araya System_Biosearch | MNI |  |  |  | 2335
1265 | DxHub Instrument_DxLab | MNI |  |  |  | 2785
1266 | qTower3 84_Analytik Jena GmbH | MNI |  |  |  | 3453
1267 | qTower3 84 G_Analytik Jena GmbH | MNI |  |  |  | 3452
1270 | EUROLineScan_Euroimmun US | MNI
1268 | ViraMed Biotech AG_ViraChip Reader | MNI
1269 | LIAISON XS Analyzer_DiaSorin | MNI
| LIAISON Analyzer_DiaSorin | MNI |  |  | Added on 8/18/2025
| BioTek PowerWave 340_BioTek | MNI |  |  | Added on 8/4/2026

## Release Notes
Publication Version ID Last Changed | Change Description | Manufacturer | Model | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Test Performed LOINC Code | Test Performed LOINC Long Name | Test Ordered LOINC Code | Test Ordered LOINC Long Name | Vendor Comment | Vendor Analyte Code | Vendor Reference ID | Testkit Name ID | Testkit Name ID Type | Equipment UID | Equipment UID Type | Component | Property | Time | System | Scale | Method | Publication Version ID | LOINC Version ID | Test ID